## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
RTU-1 | DINING | 3040 |  | 2275 | 0 | 765 |  | 25.16% | #DIV/0!
RTU-2 | DINING | 3040 |  | 2275 | 0 | 765 |  | 25.16% | #DIV/0!
RTU-3 | DINING | 2160 |  | 1620 | 0 | 540 |  | 25% | #DIV/0!
RTU-4 | KITCHEN | 6650 |  | 5300 | 0 | 1350 |  | 20.3% | #DIV/0!
MUA-1 | COOKLINE | [8 empty] | 4425
KEF-1 | HOOD 1 | [10 empty] | 1665
KEF-2 | HOOD 2 | [10 empty] | 1665
KEF-3 | HOOD 3 | [10 empty] | 1665
KEF-4 | HOOD 4 | [10 empty] | 600
DEF-1 | DISH HOD | [10 empty] | 900
TEF-1 | RESTROOMS | [12 empty] | 600
TOTALS |  | 14890 | 0 | 11470 | 0 | 3420 | 0 |  |  | 4425 | 0 | 6495 | 0 | 600 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | TRUE | FALSE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  | 7845 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  | 7095 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | 750 | 0 |  | REAR | [10 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0