## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
AC-1 | KITCHEN | 8000 |  | 5650 | 0 | 2350 |  | 29.38% | #DIV/0!
AC-2 | DINNING B | 1790 |  | 1390 | 0 | 400 |  | 22.35% | #DIV/0!
AC-3 | DRIVE THRU/SERVING | 4900 |  | 3775 | 0 | 1125 |  | 22.96% | #DIV/0!
AC-4 | DINNING A | 1750 |  | 1350 | 0 | 400 |  | 22.86% | #DIV/0!
AC-5 | DINNING A |  |  | 0 | 0 |  |  | #DIV/0! | #DIV/0!
AC-6 | MULTI-PURPOSE |  |  | 0 | 0 |  |  | #DIV/0! | #DIV/0!
EF-1 | HOOD L1 | [10 empty] | 1085
EF-2 | HOOD R1 | [10 empty] | 1085
EF-3 | HOOD 2 | [10 empty] | 701
EF-4 | HOOD 3 | [10 empty] | 804
EF-5 | RESTROOMS | [12 empty] | 300
TOTALS |  | 16440 | 0 | 12165 | 0 | 4275 | 0 |  |  | 0 | 0 | 2871 | 0 | 0 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | TRUE | FALSE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  | 4275 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  | 2871 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | 1404 | 0 |  | REAR | [10 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | HALTON | [5 empty] | NA |  | NA |  | 0 |  | 1080 |  | -1080
HD | HALTON | [5 empty] | NA |  | NA |  | 0 |  | 832 |  | -832
HD | HALTON | [5 empty] | NA |  | NA |  | 0 |  | 701 |  | -701
HD | HALTON | [5 empty] | NA |  | NA |  | 0 |  | 390 |  | -390