## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
RTU-1 | MAIN SALES | 19500 |  | 17100 | 0 | 2400 |  | 12.31% | #DIV/0!
RTU-2 | MAIN SALES | 16250 |  | 13000 | 0 | 3250 |  | 20% | #DIV/0!
RTU-3 | PHARMACY | 1625 |  | 1325 | 0 | 300 |  | 18.46% | #DIV/0!
RTU-4 | CART COR. | 2000 |  | 1600 | 0 | 400 |  | 20% | #DIV/0!
RTU-5 | OFFICE | 1300 |  | 1080 | 0 | 220 |  | 16.92% | #DIV/0!
RTU-6 | CONF. RM | 1000 |  | 850 | 0 | 150 |  | 15% | #DIV/0!
RTU-7 | SEATNG | 1950 |  | 1750 | 0 | 200 |  | 10.26% | #DIV/0!
RTU-8 | CLINIC | 1000 |  | 800 | 0 | 200 |  | 20% | #DIV/0!
RTU-9 | PICKUP | 2450 |  | 2250 | 0 | 200 |  | 8.163% | #DIV/0!
RTU-10 | SALESS | 8200 |  | 7300 | 0 | 900 |  | 10.98% | #DIV/0!
RTU-11 | DOCK | 4900 |  | 4150 | 0 | 750 |  | 15.31% | #DIV/0!
RTU-12 | CART COR. | 4100 |  | 3500 | 0 | 600 |  | 14.63% | #DIV/0!
RTU-13 | CHK. STNDS | 6500 |  | 5850 | 0 | 650 |  | 10% | #DIV/0!
RTU-14 | DELI | 3250 |  | 3000 | 0 | 250 |  | 7.692% | #DIV/0!
RTU-15 | BAKERY | 6500 |  | 5850 |  | 650 |  | 10% | #DIV/0!
RTU-16 | MT. SALES | 6500 |  | 5850 |  | 650 |  | 10% | #DIV/0!
RTU-17 | BCK RM | 1625 |  | 1425 | 0 | 200 |  | 12.31% | #DIV/0!
RTU-18 | BCK.RM | 3250 |  | 2750 | 0 | 500 |  | 15.38% | #DIV/0!
EF-3 | DELI | [10 empty] | 1500
EF-4 | DELI | [10 empty] | 1500
EF-5 | OVEN | [10 empty] | 900
EF-6 | OVEN | [10 empty] | 900
EF-7 | BAKERY | [10 empty] | 200
EF-8 | SEA FOOD | [10 empty] | 600
EF-1 | FAM. RR | [12 empty] | 200
EF-2 | CUS. RR | [12 empty] | 600
EF-9 | CLEANING | [12 empty] | 150
EF-10 | EMP RR | [12 empty] | 600
EF-11 | FRNT CLEAN | [12 empty] | 100
TOTALS |  | 91900 | 0 | 79430 | 0 | 12470 | 0 |  |  | 0 | 0 | 5600 | 0 | 1650 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | TRUE | FALSE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  | 12470 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  | 7250 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | 5220 | 0 |  | REAR | [10 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0