## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
WHSP-1 |  | 1600 |  | 1250 | 0 | 350 |  | 21.88% | #DIV/0!
WSHP-2 |  | 2000 |  | 1650 | 0 | 350 |  | 17.5% | #DIV/0!
WSHP-3 |  | 2000 |  | 1700 | 0 | 300 |  | 15% | #DIV/0!
WSHP-4 |  | 1400 |  | 1150 | 0 | 250 |  | 17.86% | #DIV/0!
WSHP-5 |  | 1200 |  | 950 |  | 250 |  | 20.83%
KXF-1 | KITCHEN EXHAUST | [10 empty] | 750
OAF-1 | OUTDOOR AIR | [10 empty] | 1500
EXF-1 | TRANSFER AIR | [12 empty] | 900
GXF-1 | TRASH | [12 empty] | 550
TXF-1 | TOILET EXHAUST | [12 empty] | 200
TOTALS |  | 8200 | 0 | 6700 | 0 | 1500 | 0 |  |  | 0 | 0 | 2250 | 0 | 1450 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | FALSE | TRUE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 0
TOTAL OA |  | 1500 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  | 3700 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | -2200 | 0 |  | REAR | [10 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | HALTON | [5 empty] | NA |  | NA |  | 0 |  | 1080 |  | -1080
HD | HALTON | [5 empty] | NA |  | NA |  | 0 |  | 832 |  | -832
HD | HALTON | [5 empty] | NA |  | NA |  | 0 |  | 701 |  | -701
HD | HALTON | [5 empty] | NA |  | NA |  | 0 |  | 390 |  | -390