## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
RTU-1 | SALES | 10000 |  | 5000 | 0 | 5000 |  | 50% | #DIV/0!
RTU-2 | SALES | 10000 |  | 8000 | 0 | 2000 |  | 20% | #DIV/0!
RTU-3 | SALES | 10000 |  | 8000 | 0 | 2000 |  | 20% | #DIV/0!
RTU-4 | VESTIBULE | 2000 |  | 1600 | 0 | 400 |  | 20% | #DIV/0!
RTU-5 | PRODUCE | 6000 |  | 5400 | 0 | 600 |  | 10% | #DIV/0!
RTU-6 | DELI | 3000 |  | 2700 | 0 | 300 |  | 10% | #DIV/0!
RTU-7 | BAKERY | 4000 |  | 3200 | 0 | 800 |  | 20% | #DIV/0!
RTU-8 | LIQUOR | 3000 |  | 2800 | 0 | 200 |  | 6.667% | #DIV/0!
RTU-9 | BREAK ROOM | 1600 |  | 1300 | 0 | 300 |  | 18.75% | #DIV/0!
RTU-10 | PHARMACY | 1200 |  | 1120 | 0 | 80 |  | 6.667% | #DIV/0!
RTU-11 | BANK | 1200 |  | 1150 | 0 | 50 |  | 4.167% | #DIV/0!
EF-1 | KH-1 | [10 empty] | 2888
EF-2 | KH-2 | [10 empty] | 4211
EF-3 | KH-3 | [10 empty] | 936
EF-4 | KH-4 | [10 empty] | 450
EF-5 | TRASH COMPACTOR | [12 empty] | 600
EF-7 | CUSTOMER SERVICE | [12 empty] | 400
EF-8 | SECURITY/IT OFFICE | [12 empty] | 600
EF-9 | MANAGERS OFFICE | [12 empty] | 400
EF-10 | GENERAL EXHAUST | [12 empty] | 525
TOTALS |  | 52000 | 0 | 40270 | 0 | 11730 | 0 |  |  | 0 | 0 | 8485 | 0 | 2525 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | TRUE | FALSE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  | 11730 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  | 11010 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | 720 | 0 |  | REAR | [10 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0