## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
DOAS-1 | KITCHEN | 4300 |  | 0 | 0 | 4300 |  | 100% | #DIV/0!
RTU-1 | DINING/BAR | 3700 |  | 1900 | 0 | 1800 |  | 48.65% | #DIV/0!
RTU-2 | DINING | 2500 |  | 700 | 0 | 1800 |  | 72% | #DIV/0!
MUA-1 | COOKLINE | [8 empty] | 3800
EF-1 | HOOD | [10 empty] | 2300
EF-2 | HOOD | [10 empty] | 2300
EF-3 | HOOD | [10 empty] | 3200
EF-4 | HOOD | [10 empty] | 2200
EF-5 | DISH HOOD | [12 empty] | 800
TEF-1 | RESTROOMS | [12 empty] | 400
TOTALS |  | 10500 | 0 | 2600 | 0 | 7900 | 0 |  |  | 3800 | 0 | 10000 | 0 | 1200 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  | 11700 | 0 |  | FRONT
TOTAL EXHAUST |  | 11200 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | 500 | 0 |  | REAR
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0 | TRUE | FALSE | FALSE
HD | [14 empty] | 0
HD | [14 empty] | 0 | #DIV/0! | #DIV/0! | FALSE
HD | [14 empty] | 0
#DIV/0!