## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
AC-1 | PATIO 112 | 1060 |  | 760 | 0 | 300 |  | #VALUE! | #DIV/0!
AC-2 | 114 PDR | 1400 |  | 1100 | 0 | 300 |  | 28.3% | #DIV/0!
AC-3 | 115 PDR | 765 |  | 575 | 0 | 190 |  | 24.84% | #DIV/0!
AC-4 | 119 PRV BOOTHS | 710 |  | 520 | 0 | 190 |  | 26.76% | #DIV/0!
AC-5 | 120 PDR | 560 |  | 440 | 0 | 120 |  | 21.43% | #DIV/0!
AC-6 | ENTRY AND RESTROOMS | 1200 |  | 1080 | 0 | 120 |  | 10% | #DIV/0!
AC-7 | 136 DINING | 350 |  | 230 | 0 | 120 |  | 34.29% | #DIV/0!
AC-8 | SECOND FLOOR | 670 |  | 475 | 0 | 195 |  | 29.1% | #DIV/0!
AC-9 | IT ROOM | 300 |  | 300 | 0 | 0 |  | 0% | #DIV/0!
RTU-1 | DINING 113 | 3000 |  | 2120 | 0 | 880 |  | 29.33% | #DIV/0!
RTU-2 | KITCHEN | 3000 |  | 0 | 0 | 3000 |  | 100% | #DIV/0!
RTU-3 | DINING 116 | 3400 |  | 2650 | 0 | 750 |  | 22.06% | #DIV/0!
RTU-4 | DINING 135 | 3400 |  | 2650 | 0 | 750 |  | 22.06% | #DIV/0!
MUA-1 | KITCHEN | [8 empty] | 7115
MUA-2 | KITCHEN SERVICE | [8 empty] | 622
KEF-1 | KITCHEN | [10 empty] | 2220
KEF-2 | KITCHEN | [10 empty] | 3055
KEF-3 | KITCHEN | [10 empty] | 3600
KEF-4 | KITCHEN | [10 empty] | 1350
KEF-5 | KITCHEN | [10 empty] | 750
KEF-6 | PIZZA OVEN | [10 empty] | 600
EF-1 | RESTROOMS | [12 empty] | 700
EF-2 | RESTROOM | [12 empty] | 100
TOTALS |  | 19815 | 0 | 12900 | 0 | 6915 | 0 |  |  | 7737 | 0 | 11575 | 0 | 800 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | TRUE | FALSE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  | 14652 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  | 12375 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | 2277 | 0 |  | REAR | [10 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0