## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
RTU-1 | KITCHEN | 4200 |  | 2394 | 0 | 1806 |  | 43% | #DIV/0!
RTU-2 | DINING | 2500 |  | 700 | 0 | 1800 |  | 72% | #DIV/0!
RTU-3 | DINING | 1200 |  | 852 | 0 | 348 |  | 29% | #DIV/0!
DOAS-1 | KITCHEN | 4300 |  | 0 | 0 | 4300 |  | 100% | #DIV/0!
MUA-1 | KITCHEN HD | [8 empty] | 3800
KEF-1 | KITCHEN HD L | [10 empty] | 2300
KEF-2 | KITCHEN HD R | [10 empty] | 2300
KEF-3 | GRILL HD | [10 empty] | 3200
KEF-4 | PREP HD | [10 empty] | 220
EF-DISH | DISHWASHER | [10 empty] | 800
TEF-1 | RESTROOM | [12 empty] | 200
TOTALS |  | 12200 | 0 | 3946 | 0 | 8254 | 0 |  |  | 3800 | 0 | 8820 | 0 | 200 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | TRUE | FALSE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  | 12054 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  | 9020 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | 3034 | 0 |  | REAR | [10 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0