## RTU-1
National TAB
Project: First Financial Bank Roselawn (Cincinnati, OH)
Address: 7152 Reading Road Cincinnati, OH 45237
Asset: RTU-1
Unit Data |  | Test Data
Manufacturer | CARRIER |  | Design | Actual
Model Num | 48FCEA05A2A5-0A0A0 | SF CFM | 1325
Serial Num |  | SF RPM | 2009
Configuration | VERTICAL | RA CFM | 1138
|  | OA CFM | 187
|  | RL VOLTAGE | 208
Num PreFilter | 2 | RL AMPERAGE | 0.71
PreFilter Size | 16X25X2 | OA Damper Position
|  | Brake Horsepower | 0.87
Motor Data |  | Performance Data
Motor MFG |  |  | Design | Actual
Frame |  | Fan Suction SP
Horsepower |  | Fan Discharge SP
Motor RPM |  | Fan Total SP | 0.82
Phase | 3 | DX Coil PD * |  | *
Rated Voltage | 208 | Pre Filter PD |  | *combined
Rated Amperage | 0.71 | Total ESP | 0.75
Service Factor

## RTU-1 SUPPLY
National TAB
Project: First Financial Bank Roselawn (Cincinnati, OH)
Address: 7152 Reading Road Cincinnati, OH 45237
Asset: RTU-1 SUPPLY
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
1-1 | 103 | SD-08 | 8 | 100 |  |  | 0
1-2 | 104 | SD-08 | 8 | 100 |  |  | 0
1-3 | 102 | SD-10 | 10 | 225 |  |  | 0
1-4 | 102 | SD-10 | 10 | 225 |  |  | 0
1-5 | 105 | SD-10 | 10 | 225 |  |  | 0
1-6 | 110 | SD-08 | 8 | 100 |  |  | 0
1-7 | 111 | SD-08 | 8 | 125 |  |  | 0
1-8 | 109 | SD-08 | 8 | 100 |  |  | 0
1-9 | 108 | SD-08 | 8 | 125 |  |  | 0
RTU-1 SUPPLY |  |  |  | 1325 |  | 0 | 0

## RTU-2
National TAB
Project: First Financial Bank Roselawn (Cincinnati, OH)
Address: 7152 Reading Road Cincinnati, OH 45237
Asset: RTU-2
Unit Data |  | Test Data
Manufacturer | CARRIER |  | Design | Actual
Model Num | 48FCEA05A2A5-0A0A0 | SF CFM | 1335
Serial Num |  | SF RPM | 2009
Configuration | VERTICAL | RA CFM | 1140
|  | OA CFM | 195
|  | RL VOLTAGE | 208
Num PreFilter | 2 | RL AMPERAGE | 0.71
PreFilter Size | 16X25X2 | OA Damper Position
|  | Brake Horsepower | 0.87
Motor Data |  | Performance Data
Motor MFG |  |  | Design | Actual
Frame |  | Fan Suction SP
Horsepower |  | Fan Discharge SP
Motor RPM |  | Fan Total SP | 0.82
Phase | 3 | DX Coil PD * |  | *
Rated Voltage | 208 | Pre Filter PD |  | *combined
Rated Amperage | 0.71 | Total ESP | 0.75
Service Factor

## RTU-2 SUPPLY
National TAB
Project: First Financial Bank Roselawn (Cincinnati, OH)
Address: 7152 Reading Road Cincinnati, OH 45237
Asset: RTU-2 SUPPLY
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
2-1 | 116 | SD-08 | 8 | 125 |  |  | 0
2-2 | 105 | SD-08 | 8 | 125 |  |  | 0
2-3 | 107 | SD-08 | 8 | 175 |  |  | 0
2-4 | 118 | SD-08 | 8 | 200 |  |  | 0
2-5 | 118 | SD-08 | 8 | 200 |  |  | 0
2-6 | 118 | SD-08 | 8 | 200 |  |  | 0
2-7 | 115 | SD-06 | 6 | 70 |  |  | 0
2-8 | 114 | SD-06 | 6 | 70 |  |  | 0
2-9 | 113 | SD-06 | 6 | 70 |  |  | 0
2-10 | 112 | SD-08 | 8 | 100 |  |  | 0
|  |  |  | 1335 |  | 0 | 0

## EF-1
National TAB
Project: First Financial Bank Roselawn (Cincinnati, OH)
Address: 7152 Reading Road Cincinnati, OH 45237
Asset: EF-1 |  | Area: WOMENS RR 114
Unit Data |  |  | Test Data
MFG |  |  |  | Design | Actual
Model Num |  |  | CFM | 70
Serial Num |  |  | Fan RPM | 900
Type | CEILING |  | RL Voltage | 120
RL Amperage
Motor Data |  |  | Suction ESP
Motor MFG |  |  | Total ESP | 0.25
Frame
Horsepower | 15W
Motor Rpm
Phase | 1
Voltage (rated) | 120
Amperage (rated)
Service Factor
-

## EF-2
National TAB
Project: First Financial Bank Roselawn (Cincinnati, OH)
Address: 7152 Reading Road Cincinnati, OH 45237
Asset: EF-2 |  | Area: MENS RR 115
Unit Data |  |  | Test Data
MFG |  |  |  | Design | Actual
Model Num |  |  | CFM | 70
Serial Num |  |  | Fan RPM | 900
Type | CEILING |  | RL Voltage | 120
RL Amperage
Motor Data |  |  | Suction ESP
Motor MFG |  |  | Total ESP | 0.25
Frame
Horsepower | 15W
Motor Rpm
Phase | 1
Voltage (rated) | 120
Amperage (rated)
Service Factor
-

## EF-3
National TAB
Project: First Financial Bank Roselawn (Cincinnati, OH)
Address: 7152 Reading Road Cincinnati, OH 45237
Asset: EF-3 |  | Area: JAN CLOSET 113
Unit Data |  |  | Test Data
MFG |  |  |  | Design | Actual
Model Num |  |  | CFM | 75
Serial Num |  |  | Fan RPM | 900
Type | CEILING |  | RL Voltage | 120
RL Amperage
Motor Data |  |  | Suction ESP
Motor MFG |  |  | Total ESP | 0.25
Frame
Horsepower | 15W
Motor Rpm
Phase | 1
Voltage (rated) | 120
Amperage (rated)
Service Factor
-