## IDU-1
National TAB
Project: Amazon GSE Reno
Address: 470 Day One Drive Florence, KY 41042
Asset: IDU-1 |  | Area: 138
Unit Data |  |  |  |  | Test Data
MFG | TRANE |  |  |  |  | Design | Actual
Model Num | TPEADA0181AA80A |  |  |  | SA CFM | 635
Serial Num |  |  |  |  | Fan Speed
[5 empty] | OA CFM | 90
[5 empty] | RA CFM | 545
Motor Data |  |  |  |  | RL Voltage | 208
Motor MFG |  |  |  |  | RL Amperage | 1.95
Horsepower |  |  |  |  | Suction ESP
Motor Rpm |  |  |  |  | Discharge ESP
Phase | 1 |  |  |  | Total ESP
Voltage (rated) | 208 |  |  |  | Brake HP
Amperage (rated) | 1.95
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
1-1 | 130 | S | 6 | 90 |  |  | 0
1-2 | 136 | S | 6 | 90 |  |  | 0
1-3 | 137 | S | 6 | 90 |  |  | 0
1-4 | 129 | S | 6 | 90 |  |  | 0
1-5 | 138 | S | 6 | 90 |  |  | 0
1-6 | HALL | S | 6 | 95 |  |  | 0
1-7 | 128 | S | 6 | 90 |  |  | 0
IDU-1 SUPPLY |  |  |  | 635 |  | 0 | 0
R1-1 | 136 | R | 6X6 | 75 |  |  | 0
R1-2 | 137 | R | 6X6 | 75 |  |  | 0
R1-3 | 138 | R | 6X6 | 75 |  |  | 0
R1-4 | HALL | R | 6X6 | 95 |  |  | 0
R1-5 | 130 | R | 6X6 | 75 |  |  | 0
R1-6 | 129 | R | 6X6 | 75 |  |  | 0
R1-7 | 128 | R | 6X6 | 75 |  |  | 0
IDU-1 RETURN |  |  |  | 545 |  | 0 | 0
Note on A5: USE FOR: FAN COIL UNIT SPLIT SYSTEM FURNACE HEAT PUMP

## IDU-2
National TAB
Project: Amazon GSE Reno
Address: 470 Day One Drive Florence, KY 41042
Asset: IDU-2 |  | Area: 120
Unit Data |  |  |  |  | Test Data
MFG | TRANE |  |  |  |  | Design | Actual
Model Num | TPEADA0181AA80A |  |  |  | SA CFM | 530
Serial Num |  |  |  |  | Fan Speed
[5 empty] | OA CFM | 65
[5 empty] | RA CFM | 465
Motor Data |  |  |  |  | RL Voltage | 208
Motor MFG |  |  |  |  | RL Amperage | 1.95
Horsepower |  |  |  |  | Suction ESP
Motor Rpm |  |  |  |  | Discharge ESP
Phase | 1 |  |  |  | Total ESP
Voltage (rated) | 208 |  |  |  | Brake HP
Amperage (rated) | 1.95
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
2-1 | HALL | S | 6 | 110 |  |  | 0
2-2 | 126 | S | 6 | 110 |  |  | 0
2-3 | CORR-1 | S | 6 | 110 |  |  | 0
2-4 | 119 | S | 6 | 100 |  |  | 0
2-5 | 120 | S | 6 | 100 |  |  | 0
IDU-2 SUPPLY |  |  |  | 530 |  | 0 | 0
R2-1 | HALL | R | 12X12 | 200 |  |  | 0
R2-2 | 119 | R | 6X6 | 85 |  |  | 0
R2-3 | 126 | R | 6X6 | 95 |  |  | 0
R2-4 | 120 | R | 6X6 | 85 |  |  | 0
IDU-2 RETURN |  |  |  | 465 |  | 0 | 0
Note on A5: USE FOR: FAN COIL UNIT SPLIT SYSTEM FURNACE HEAT PUMP

## (E) IDU-3
National TAB
Project: Amazon GSE Reno
Address: 470 Day One Drive Florence, KY 41042
Asset: IDU-3 |  | Area: 141
Unit Data |  |  |  |  | Test Data
MFG | EXISTING |  |  |  |  | Design | Actual
Model Num | EXISTING |  |  |  | SA CFM | 540
Serial Num |  |  |  |  | Fan Speed
[5 empty] | OA CFM | 80
[5 empty] | RA CFM | 445
Motor Data |  |  |  |  | RL Voltage
Motor MFG |  |  |  |  | RL Amperage
Horsepower |  |  |  |  | Suction ESP
Motor Rpm |  |  |  |  | Discharge ESP
Phase |  |  |  |  | Total ESP
Voltage (rated) |  |  |  |  | Brake HP
Amperage (rated)
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
(E) 3-1 | 141 | S | 6 | 90 |  |  | 0
(E) 3-2 | 141 | (E) |  | 90 |  |  | 0
(E) 3-3 | 127 | (E) |  | 90 |  |  | 0
(E) 3-4 | HALL | (E) |  | 90 |  |  | 0
(E) 3-5 | 142 | (E) |  | 90 |  |  | 0
(E) 3-6 | 141 | (E) |  | 90 |  |  | 0
IDU-3 SUPPLY |  |  |  | 540 |  | 0 | 0
R3-1 | 141 | R | 12X12 | 220 |  |  | 0
(E) R3-2 | 127 | (E) |  | 75 |  |  | 0
(E) R3-3 | HALL | (E) |  | 75 |  |  | 0
(E) R3-4 | 142 | (E) |  | 75 |  |  | 0
IDU-3 RETURN |  |  |  | 445 |  | 0 | 0
Note on A5: USE FOR: FAN COIL UNIT SPLIT SYSTEM FURNACE HEAT PUMP

## (E) IDU-4
National TAB
Project: Amazon GSE Reno
Address: 470 Day One Drive Florence, KY 41042
Asset: IDU-4 |  | Area: 135
Unit Data |  |  |  |  | Test Data
MFG | EXISTING |  |  |  |  | Design | Actual
Model Num | EXISTING |  |  |  | SA CFM | 360
Serial Num |  |  |  |  | Fan Speed
[5 empty] | OA CFM | 90
[5 empty] | RA CFM | 300
Motor Data |  |  |  |  | RL Voltage
Motor MFG |  |  |  |  | RL Amperage
Horsepower |  |  |  |  | Suction ESP
Motor Rpm |  |  |  |  | Discharge ESP
Phase |  |  |  |  | Total ESP
Voltage (rated) |  |  |  |  | Brake HP
Amperage (rated)
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
(E) 4-1 | 131 | (E) |  | 90 |  |  | 0
(E) 4-2 | 135 | (E) |  | 90 |  |  | 0
(E) 4-3 | 132 | (E) |  | 90 |  |  | 0
(E) 4-4 | 134 | (E) |  | 90 |  |  | 0
IDU-4 SUPPLY |  |  |  | 360 |  | 0 | 0
(E) R4-1 | 131 | (E) |  | 75
(E) R4-2 | 135 | (E) |  | 75 |  |  | 0
(E) R4-3 | 134 | (E) |  | 75 |  |  | 0
(E) R4-4 | 132 | (E) |  | 75 |  |  | 0
IDU-4 RETURN |  |  |  | 300 |  | 0 | 0
Note on A5: USE FOR: FAN COIL UNIT SPLIT SYSTEM FURNACE HEAT PUMP

## (E) IDU-5
National TAB
Project: Amazon GSE Reno
Address: 470 Day One Drive Florence, KY 41042
Asset: IDU-5 |  | Area: 135
Unit Data |  |  |  |  | Test Data
MFG | EXISTING |  |  |  |  | Design | Actual
Model Num | EXISTING |  |  |  | SA CFM | 360
Serial Num |  |  |  |  | Fan Speed
[5 empty] | OA CFM | 60
[5 empty] | RA CFM | 300
Motor Data |  |  |  |  | RL Voltage
Motor MFG |  |  |  |  | RL Amperage
Horsepower |  |  |  |  | Suction ESP
Motor Rpm |  |  |  |  | Discharge ESP
Phase |  |  |  |  | Total ESP
Voltage (rated) |  |  |  |  | Brake HP
Amperage (rated)
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
(E) 5-1 | 125 | (E) |  | 90 |  |  | 0
(E) 5-2 | 121 | (E) |  | 90 |  |  | 0
(E) 5-3 | 122 | (E) |  | 90 |  |  | 0
(E) 5-4 | 124 | (E) |  | 90 |  |  | 0
IDU-5 SUPPLY |  |  |  | 360 |  | 0 | 0
(E) R5-1 | 125 | (E) |  | 75 |  |  | 0
(E) R5-2 | 124 | (E) |  | 75 |  |  | 0
(E) R5-3 | 121 | (E) |  | 75 |  |  | 0
(E) R5-4 | 122 | (E) |  | 75 |  |  | 0
IDU-5 RETURN |  |  |  | 300 |  | 0 | 0
Note on A5: USE FOR: FAN COIL UNIT SPLIT SYSTEM FURNACE HEAT PUMP