## AHU-1
National TAB
Project: Crave - Westedge
Address: 99 WESTEDGE STE 1100 CHARLESTON, SC
Asset: AHU-1 (EXISTING) |  | Area: DINING AREA
Unit Data |  |  |  |  | Test Data
MFG | CARRIER |  |  |  |  | Design | Actual
Model Num | FX4D049 |  |  |  | SA CFM | 1600
Serial Num |  |  |  |  | Fan Speed
[5 empty] | OA CFM | 375
[5 empty] | RA CFM | 1225
Motor Data |  |  |  |  | RL Voltage | 208
Motor MFG |  |  |  |  | RL Amperage
Horsepower |  |  |  |  | Suction ESP
Motor Rpm |  |  |  |  | Discharge ESP
Phase | 1 |  |  |  | Total ESP | 0.5
Voltage (rated) | 208 |  |  |  | Brake HP
Amperage (rated)
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
1-1 | 100 | A | 12X12 | 400 |  |  | 0
1-2 | 100 | A | 12X12 | 400 |  |  | 0
1-3 | 100 | A | 12X12 | 400 |  |  | 0
1-4 | GAMING | A | 12X12 | 400 |  |  | 0
|  |  |  | 1600 |  | 0 | 0
Note on A5: USE FOR: FAN COIL UNIT SPLIT SYSTEM FURNACE HEAT PUMP

## AHU-2
National TAB
Project: Crave - Westedge
Address: 99 WESTEDGE STE 1100 CHARLESTON, SC
Asset: AHU-2 (EXISTING) |  | Area: DINING AREA
Unit Data |  |  |  |  | Test Data
MFG | CARRIER |  |  |  |  | Design | Actual
Model Num | FX4D049 |  |  |  | SA CFM | 1600
Serial Num |  |  |  |  | Fan Speed
[5 empty] | OA CFM | 400
[5 empty] | RA CFM | 1200
Motor Data |  |  |  |  | RL Voltage | 208
Motor MFG |  |  |  |  | RL Amperage
Horsepower |  |  |  |  | Suction ESP
Motor Rpm |  |  |  |  | Discharge ESP
Phase | 1 |  |  |  | Total ESP | 0.5
Voltage (rated) | 208 |  |  |  | Brake HP
Amperage (rated)
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
2-1 | 100 | A | 12X12 | 300 |  |  | 0
2-2 | 100 | A | 12X12 | 300 |  |  | 0
2-3 | 100 | A | 12X12 | 300 |  |  | 0
2-4 | 100 | A | 12X12 | 350 |  |  | 0
2-5 | GAMING | A | 12X12 | 350 |  |  | 0
|  |  |  | 1600 |  | 0 | 0
Note on A5: USE FOR: FAN COIL UNIT SPLIT SYSTEM FURNACE HEAT PUMP

## AHU-3
National TAB
Project: Crave - Westedge
Address: 99 WESTEDGE STE 1100 CHARLESTON, SC
Asset: AHU-3 (EXISTING) |  | Area: DINING AREA
Unit Data |  |  |  |  | Test Data
MFG | CARRIER |  |  |  |  | Design | Actual
Model Num | FX4D049 |  |  |  | SA CFM | 1600
Serial Num |  |  |  |  | Fan Speed
[5 empty] | OA CFM | 275
[5 empty] | RA CFM | 1325
Motor Data |  |  |  |  | RL Voltage | 208
Motor MFG |  |  |  |  | RL Amperage
Horsepower |  |  |  |  | Suction ESP
Motor Rpm |  |  |  |  | Discharge ESP
Phase | 1 |  |  |  | Total ESP | 0.5
Voltage (rated) | 208 |  |  |  | Brake HP
Amperage (rated)
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
3-1 | 106 | B | 24X24 | 250 |  |  | 0
3-2 | 108 | C | 9X9 | 75 |  |  | 0
3-3 | 107 | C | 9X9 | 75 |  |  | 0
3-4 | 104 | B | 24X24 | 150 |  |  | 0
3-5 | 108 | C | 9X9 | 50 |  |  | 0
3-6 | 100 | A | 12X12 | 300 |  |  | 0
3-7 | 100 | A | 12X12 | 275 |  |  | 0
3-8 | 100 | A | 12X12 | 425 |  |  | 0
|  |  |  | 1600 |  | 0 | 0
Note on A5: USE FOR: FAN COIL UNIT SPLIT SYSTEM FURNACE HEAT PUMP

## AHU-4
National TAB
Project: Crave - Westedge
Address: 99 WESTEDGE STE 1100 CHARLESTON, SC
Asset: AHU-3 (EXISTING) |  | Area: PRODUCTION AREA
Unit Data |  |  |  |  | Test Data
MFG | CARRIER |  |  |  |  | Design | Actual
Model Num | FX4D049 |  |  |  | SA CFM | 1600
Serial Num |  |  |  |  | Fan Speed
[5 empty] | OA CFM | 175
[5 empty] | RA CFM | 1425
Motor Data |  |  |  |  | RL Voltage | 208
Motor MFG |  |  |  |  | RL Amperage
Horsepower |  |  |  |  | Suction ESP
Motor Rpm |  |  |  |  | Discharge ESP
Phase | 1 |  |  |  | Total ESP | 0.5
Voltage (rated) | 208 |  |  |  | Brake HP
Amperage (rated)
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
4-1 | 102 | B | 12X12 | 200 |  |  | 0
4-2 | 102 | B | 12X12 | 200 |  |  | 0
4-3 | 102 | A | 12X12 | 200 |  |  | 0
4-4 | 102 | B | 12X12 | 200 |  |  | 0
4-5 | 100 | B | 12X12 | 400 |  |  | 0
4-6 | 100 | B | 12X12 | 400 |  |  | 0
|  |  |  | 1600 |  | 0 | 0
Note on A5: USE FOR: FAN COIL UNIT SPLIT SYSTEM FURNACE HEAT PUMP

## EF-1
National TAB
Project: Crave - Westedge
Address: 99 WESTEDGE STE 1100 CHARLESTON, SC
Asset: EF-1 |  |  | Area: BUILDING EXHAUST
Unit Data |  |  |  |  | Test Data
MFG | [5 empty] | Design | Actual
Model Num |  |  |  |  | CFM | 750
Serial Num |  |  |  |  | Fan RPM | 900
Type |  | INLINE |  |  | RL Voltage | 115
RL Amperage
Motor Data |  |  |  |  | Suction ESP
Motor MFG |  |  |  |  | Total ESP | 0.5
Frame
Horsepower |  | 149W
Motor Rpm
Phase |  | 1
Voltage (rated) |  | 115
Amperage (rated)
Service Factor
Asset | Area Served | Type | Size | DESIGN | CFM(1) | FINAL CFM | % to design
E1-1 | 108 | E | 10X10 | 125 |  |  | 0
E1-2 | 102 | E | 10X10 | 125 |  |  | 0
E1-3 | 102 | E | 10X10 | 300 |  |  | 0
E1-4 | 107 | E | 10X10 | 125 |  |  | 0
E1-5 | 108 | E | 10X10 | 75 |  |  | 0
|  |  |  | 750 |  | 0 | 0
-