## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
RTU-1 | SHOWROOM | 5250 |  | 4750 | 0 | 500 |  | 9.524% | #DIV/0!
RTU-2 | SHOWROOM | 5250 |  | 4750 | 0 | 500 |  | 9.524% | #DIV/0!
RTU-3 | BREAK/CONF. | 1300 |  | 1060 | 0 | 240 |  | 18.46% | #DIV/0!
RTU-4 | DATA | 975 |  | 975 | 0 |  |  | 0% | #DIV/0!
RTU-5 | BUYERS | 1050 |  | 910 | 0 | 140 |  | 13.33% | #DIV/0!
RTU-6 | BUSINESS | 1300 |  | 1100 | 0 | 200 |  | 15.38% | #DIV/0!
RTU-7 | CUTOMER | 1050 |  | 930 | 0 | 120 |  | 11.43% | #DIV/0!
RTU-8 | BREAK/TRAIN | 1600 |  | 1200 | 0 | 400 |  | 25% | #DIV/0!
RTU-9 | PARTS | 1500 |  | 1300 | 0 | 200 |  | 13.33% | #DIV/0!
RTU-10 | SERVICE | 7000 |  | 2250 | 0 | 4750 |  | 67.86% | #DIV/0!
RTU-11 | SERVICE | 4900 |  | 0 | 0 | 4900 |  | 100% | #DIV/0!
RTU-12 | SERVICE | 7000 |  | 2250 | 0 | 4750 |  | 67.86% | #DIV/0!
RTU-13 | SERVICE | 4900 |  | 0 | 0 | 4900 |  | 100% | #DIV/0!
RTU-14 | SERVICE | 7000 |  | 2250 | 0 | 4750 |  | 67.86% | #DIV/0!
RTU-15 | COSMETIC | 5000 |  | 1200 | 0 | 3800 |  | 76% | #DIV/0!
RTU-16 | COSMETIC | 5000 |  | 1200 | 0 | 3800 |  | 76% | #DIV/0!
RTU-17 | FQC | 3000 |  | 2700 | 0 | 300 |  | 10% | #DIV/0!
EF-16 | SERVICE | [12 empty] | 3000
EF-18 | SERVICE | [12 empty] | 3000
EF-20 | COSMETIC | [12 empty] | 2500
EF-21 | COSMETIC | [12 empty] | 2500
TOTALS |  | 63075 | 0 | 28825 | 0 | 34250 | 0 |  |  | 0 | 0 | 0 | 0 | 11000 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | TRUE | FALSE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  | 34250 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  | 11000 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | 23250 | 0 |  | REAR | [10 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0