## FCU VRF HP SS FURN
National TAB
Project: OAP - Willowbridge
Address: 1722 Routh Street, #1200 Dallas, TX 75201
Asset: FCU / VRF / HP / SS FURN |  | Area:
Unit Data |  |  |  |  | Test Data
MFG | [5 empty] | Design | Actual
Model Num |  |  |  |  | SA CFM
Serial Num |  |  |  |  | Fan RPM
OA CFM
RA CFM
Motor Data |  |  |  |  | RL Voltage
Motor MFG |  |  |  |  | RL Amperage
Horsepower |  |  |  |  | Suction ESP
Motor Rpm |  |  |  |  | Discharge ESP
Phase |  |  |  |  | Total ESP
Voltage (rated) |  |  |  |  | Brake HP
Amperage (rated)
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
Note on A5: USE FOR: FAN COIL UNIT SPLIT SYSTEM FURNACE HEAT PUMP

## VAVs Single
National TAB
Project: OAP - Willowbridge
Address: 1722 Routh Street, #1200 Dallas, TX 75201
Asset: Single Duct VAV's
Asset | Area Served | Address | Type | Size | Design Max CFM | Actual Max CFM | Design Min CFM | Actual Min CFM | Design Heat CFM | Actual Heat CFM | Ak (max)
VAV12-1 | 1205 |  |  | 8 | 300 |  | 60
VAV12-2 | 1202 |  |  | 8 | 380 |  | 76
VAV12-3 | 1246 |  |  | 8 | 370 |  | 74 |  |  |  |  | DESIGN MAX=440 CFM
VAV12-4 | 1247 |  |  | 12 | 1200 |  | 240
VAV12-6 | 1201 |  |  | 6 | 330 |  | 66
VAV12-7 | 1248 |  |  | 10 | 815 |  | 163
VAV12-8 | 1253 |  |  | 12 | 800 |  | 160
VAV12-9 | 1284 |  |  | 12 | 710 |  | 142
VAV12-10 | 1253 |  |  | 12 | 1200 |  | 240
VAV12-11 | 1259 |  |  | 12 | 440 |  | 88
VAV12-12 | 1282 |  |  | 8 | 205 |  | 41
VAV12-13 | 1260 |  |  | 12 | 1200 |  | 240
VAV12-14 | 1260 |  |  | 12 | 1200 |  | 240
VAV12-15 | 1281 |  |  | 12 | 1200 |  | 240
VAV12-16 | 1281 |  |  | 12 | 800 |  | 160
VAV12-17 | 1211 |  |  | 12 | 850 |  | 170
VAV12-18 | 1235 |  |  | 12 | 400 |  | 80
VAV12-19 | 1228 |  |  | 12 | 600 |  | 120
VAV12-20 | 1251 |  |  | 6 | 205 |  | 41
VAV12-21 | 1224 |  |  | 12 | 800 |  | 160
VAV12-22 | 1224 |  |  | 12 | 1200 |  | 240
TOTAL |  |  |  |  | 15205 |  | 3041
Note on C7: NTAB: BILLINGSLEY ONLY

## VAV-SGRD (1)
National TAB
Project: OAP - Willowbridge
Address: 1722 Routh Street, #1200 Dallas, TX 75201
Asset: VAV SUPPLY
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
V1-1 | 1205 | A | 8 | 200 |  |  | 0
V1-2 | 1287 | A | 6 | 100 |  |  | 0
VAV12-1 |  |  |  | 300 |  | 0 | 0
V2-1 | 1202 | D |  | 165 |  |  | 0
V2-2 | 1202 | D |  | 165 |  |  | 0
V2-3 | 1204 | A | 6 | 50 |  |  | 0
VAV12-2 |  |  |  | 380 |  | 0 | 0
V3-1 | 1246 | A | 8 | 160 |  |  | 0
V3-2 | 1246 | A | 8 | 160 |  |  | 0
V3-3 | HALL | A | 6 | 50 |  |  | 0
VAV12-3 |  |  |  | 370 |  | 0 | 0
V4-1 | 1247 | A | 8 | 200 |  |  | 0
V4-2 | 1247 | A | 8 | 200 |  |  | 0
V4-3 | 1247 | A | 8 | 200 |  |  | 0
V4-4 | 1247 | A | 8 | 200 |  |  | 0
V4-5 | 1247 | A | 8 | 200 |  |  | 0
V4-6 | 1247 | A | 8 | 200 |  |  | 0
VAV12-4 |  |  |  | 1200 |  | 0 | 0
V6-1 | 1201 | LD |  | 110 |  |  | 0
V6-2 | 1201 | LD |  | 110 |  |  | 0
V6-3 | 1201 | LD |  | 110 |  |  | 0
VAV12-6 |  |  |  | 330 |  | 0 | 0
VAV-SGRD (1) |  |  |  | 2580 |  | 0 | 0

## VAV-SGRD (2)
National TAB
Project: OAP - Willowbridge
Address: 1722 Routh Street, #1200 Dallas, TX 75201
Asset: VAV SUPPLY
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
V7-1 | 1249 | F |  | 260 |  |  | 0
V7-2 | 1248 | D |  | 185 |  |  | 0
V7-3 | 1248 | D |  | 185 |  |  | 0
V7-4 | 1248 | D |  | 185 |  |  | 0
VAV12-7 |  |  |  | 815 |  | 0 | 0
V8-1 | 1253 | A | 8 | 200 |  |  | 0
V8-2 | 1253 | A | 8 | 200 |  |  | 0
V8-3 | 1253 | A | 8 | 200 |  |  | 0
V8-4 | 1253 | A | 8 | 200 |  |  | 0
VAV12-8 |  |  |  | 800 |  | 0 | 0
V9-1 | 1252 | A | 8 | 200 |  |  | 0
V9-2 | 1284 | A | 8 | 160 |  |  | 0
V9-3 | 1284 | A | 8 | 160 |  |  | 0
V9-4 | 1285 | A | 6 | 50 |  |  | 0
V9-5 | 1286 | A | 6 | 65 |  |  | 0
V9-6 | 1283 | A | 6 | 75 |  |  | 0
VAV12-9 |  |  |  | 710 |  | 0 | 0
V10-1 | 1256 | A | 6 | 100 |  |  | 0
V10-2 | 1255 | A | 6 | 100 |  |  | 0
V10-3 | 1253 | A | 8 | 200 |  |  | 0
V10-4 | 1253 | A | 8 | 200 |  |  | 0
V10-5 | 1253 | A | 8 | 200 |  |  | 0
V10-6 | 1253 | A | 8 | 200 |  |  | 0
V10-7 | 1250 | A | 8 | 200 |  |  | 0
VAV12-10 |  |  |  | 1200 |  | 0 | 0
VAV-SGRD (2) |  |  |  | 3525 |  | 0 | 0

## VAV-SGRD (3)
National TAB
Project: OAP - Willowbridge
Address: 1722 Routh Street, #1200 Dallas, TX 75201
Asset: VAV SUPPLY
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
V11-1 | 1257 | A | 6 | 100 |  |  | 0
V11-2 | HALL | A | 6 | 100 |  |  | 0
V11-3 | 1258 | A | 6 | 50 |  |  | 0
V11-4 | 1259 | A | 8 | 190 |  |  | 0
VAV12-11 |  |  |  | 440 |  | 0 | 0
V12-1 | 1282 | A | 8 | 205
VAV12-12 |  |  |  | 205 |  | 0 | 0
V13-1 | 1260 | A | 8 | 200 |  |  | 0
V13-2 | 1260 | A | 8 | 200 |  |  | 0
V13-3 | 1260 | A | 8 | 200 |  |  | 0
V13-4 | 1260 | A | 8 | 200 |  |  | 0
V13-5 | 1260 | A | 8 | 200 |  |  | 0
V13-6 | 1260 | A | 8 | 200 |  |  | 0
VAV12-13 |  |  |  | 1200 |  | 0 | 0
V14-1 | 1260 | A | 8 | 200 |  |  | 0
V14-2 | 1260 | A | 8 | 200 |  |  | 0
V14-3 | 1260 | A | 8 | 200 |  |  | 0
V14-4 | 1260 | A | 8 | 200 |  |  | 0
V14-5 | 1260 | A | 8 | 200 |  |  | 0
V14-6 | 1260 | A | 8 | 200 |  |  | 0
VAV12-14 |  |  |  | 1200 |  | 0 | 0
VAV-SGRD (3) |  |  |  | 3045 |  | 0 | 0

## VAV-SGRD (4)
National TAB
Project: OAP - Willowbridge
Address: 1722 Routh Street, #1200 Dallas, TX 75201
Asset: VAV SUPPLY
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
V15-1 | 1281 | A | 8 | 200 |  |  | 0
V15-2 | 1281 | A | 8 | 200 |  |  | 0
V15-3 | 1281 | A | 8 | 200 |  |  | 0
V15-4 | 1281 | A | 8 | 200 |  |  | 0
V15-5 | 1281 | A | 8 | 200 |  |  | 0
V15-6 | 1281 | A | 8 | 200 |  |  | 0
VAV12-15 |  |  |  | 1200 |  | 0 | 0
V16-1 | 1281 | A | 8 | 200 |  |  | 0
V16-2 | 1281 | A | 8 | 200 |  |  | 0
V16-3 | 1281 | A | 8 | 200 |  |  | 0
V16-4 | 1281 | A | 8 | 200 |  |  | 0
VAV12-16 |  |  |  | 800 |  | 0 | 0
V17-1 | 1211 | A | 8 | 200 |  |  | 0
V17-2 | 1211 | A | 8 | 200 |  |  | 0
V17-3 | 1233 | A | 6 | 50 |  |  | 0
V17-4 | 1211 | A | 8 | 200 |  |  | 0
V17-5 | 1211 | A | 8 | 200 |  |  | 0
VAV12-17 |  |  |  | 850 |  | 0 | 0
V18-1 | 1234 | A | 6 | 100 |  |  | 0
V18-2 | 1236 | A | 6 | 100 |  |  | 0
V18-3 | 1237 | A | 6 | 100 |  |  | 0
V18-4 | 1235 | A | 6 | 100 |  |  | 0
VAV12-18 |  |  |  | 400 |  | 0 | 0
VAV-SGRD (4) |  |  |  | 3250 |  | 0 | 0

## VAV-SGRD (5)
National TAB
Project: OAP - Willowbridge
Address: 1722 Routh Street, #1200 Dallas, TX 75201
Asset: VAV SUPPLY
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
V19-1 | 1228 | A | 6 | 100 |  |  | 0
V19-2 | 1229 | A | 6 | 100 |  |  | 0
V19-3 | 1230 | A | 6 | 100 |  |  | 0
V19-4 | 1231 | A | 6 | 100 |  |  | 0
V19-5 | 1232 | A | 6 | 100 |  |  | 0
V19-6 | 1227 | A | 6 | 100 |  |  | 0
VAV12-19 |  |  |  | 600 |  | 0 | 0
V20-1 | 1251 | A | 8 | 205 |  |  | 0
VAV12-20 |  |  |  | 205 |  | 0 | 0
V21-1 | 1224 | A | 8 | 200 |  |  | 0
V21-2 | 1224 | A | 8 | 200 |  |  | 0
V21-3 | 1224 | A | 8 | 200 |  |  | 0
V21-4 | 1224 | A | 8 | 200 |  |  | 0
VAV12-21 |  |  |  | 800 |  | 0 | 0
V22-1 | 1224 | A | 8 | 200 |  |  | 0
V22-2 | 1224 | A | 8 | 200 |  |  | 0
V22-3 | 1224 | A | 8 | 200 |  |  | 0
V22-4 | 1224 | A | 8 | 200 |  |  | 0
V22-5 | 1224 | A | 8 | 200 |  |  | 0
V22-6 | 1224 | A | 8 | 200 |  |  | 0
VAV12-22 |  |  |  | 1200 |  | 0 | 0
VAV-SGRD (5) |  |  |  | 2805 |  | 0 | 0

## VAV-SGRD (TOTAL)
National TAB
Project: OAP - Willowbridge
Address: 1722 Routh Street, #1200 Dallas, TX 75201
Asset: VAV SUPPLY
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
VAV-SGRD (1) |  |  |  | 2580 |  | 0 | 0
VAV-SGRD (2) |  |  |  | 3525 |  | 0 | 0
VAV-SGRD (3) |  |  |  | 3045 |  | 0 | 0
VAV-SGRD (4) |  |  |  | 3250 |  | 0 | 0
VAV-SGRD (5) |  |  |  | 2805 |  | 0 | 0
TOTAL |  |  |  | 15205 |  | 0 | 0

## FPVAV - PARALLEL
National TAB
Project: OAP - Willowbridge
Address: 1722 Routh Street, #1200 Dallas, TX 75201
Asset: Parallel Fan Powered Boxes
Asset | Area Served | Address | Type | Size | Design Max CFM | Actual Max CFM | Design Min CFM | Min CFM | Design Fan + Heat CFM | Actual Fan + Heat CFM | Ak (max)
FP12-1 | 1221 |  |  | 14 | 1230 |  | 307.5 |  | 861
FP12-2 | 1225 |  |  | 12 | 1225 |  | 306.25 |  | 857.5
FP12-3 | 1242 |  |  | 8 | 420 |  | 105 |  | 294
FP12-4 | 1243 |  |  | 14 | 840 |  | 210 |  | 588
FP12-5 | 1245 |  |  | 8 | 420 |  | 105 |  | 294
FP12-6 | 1248 |  |  | 14 | 1260 |  | 315 |  | 882
FP12-7 | 1253 |  |  | 10 | 840 |  | 210 |  | 588
FP12-8 | 1253 |  |  | 14 | 1260 |  | 315 |  | 882
FP12-9 | 1261 |  |  | 14 | 1260 |  | 315 |  | 882
FP12-10 | 1266 |  |  | 8 | 600 |  | 150 |  | 420
FP12-11 | 1264 |  |  | 16 | 1200 |  | 300 |  | 840
FP12-12 | 1269 |  |  | 16 | 1800 |  | 450 |  | 1260
FP12-13 | 1270 |  |  | 12 | 1020 |  | 255 |  | 714
FP12-14 | 1273 |  |  | 16 | 1590 |  | 397.5 |  | 1113
FP12-15 | 1277 |  |  | 16 | 2120 |  | 530 |  | 1484
FP12-16 | 1279 |  |  | 16 | 1590 |  | 397.5 |  | 1113
FP12-17 | 1209 |  |  | 16 | 2120 |  | 530 |  | 1484
FP12-18 | 1220 |  |  | 8 | 690 |  | 172.5 |  | 483
FP12-19 | 1211 |  |  | 14 | 1680 |  | 420 |  | 1176
FP12-20 | 1213 |  |  | 16 | 1325 |  | 331.25 |  | 927.5
FP12-21 | 1215 |  |  | 14 | 1080 |  | 270 |  | 756
FP12-22 | 1218 |  |  | 14 | 1620 |  | 405 |  | 1134
FP12-23 | 1263 |  |  | 12 | 1290 |  | 322.5 |  | 903
FP12-24 | 1203 |  |  | 12 | 1160 |  | 290 |  | 812
FP12-25 | 1214 |  |  | 14 | 1605 |  | 401.25 |  | 1123.5
[7 empty] | 0 |  | 0
[7 empty] | 0 |  | 0
[7 empty] | 0 |  | 0
[7 empty] | 0 |  | 0
[7 empty] | 0 |  | 0
[7 empty] | 0 |  | 0
[7 empty] | 0 |  | 0
[7 empty] | 0 |  | 0
[7 empty] | 0 |  | 0
[7 empty] | 0 |  | 0
[7 empty] | 0 |  | 0
[7 empty] | 0 |  | 0
[7 empty] | 0 |  | 0
[7 empty] | 0 |  | 0
[7 empty] | 0 |  | 0
[7 empty] | 0 |  | 0
[7 empty] | 0 |  | 0
Note on C7: NTAB: BILLINGSLEY ONLY
Note on J7: NTAB: Fan PLUS Heat CFM

## FP-SGRD (1)
National TAB
Project: OAP - Willowbridge
Address: 1722 Routh Street, #1200 Dallas, TX 75201
Asset: FPVAV SUPPLY
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
F1-1 | 1223 | LD |  | 205 |  |  | 0
F1-2 | 1223 | LD |  | 205 |  |  | 0
F1-3 | 1222 | LD |  | 205 |  |  | 0
F1-4 | 1222 | LD |  | 205 |  |  | 0
F1-5 | 1221 | LD |  | 205 |  |  | 0
F1-6 | 1221 | LD |  | 205 |  |  | 0
FP12-1 |  |  |  | 1230 |  | 0 | 0
F2-1 | 1225 | LD |  | 175 |  |  | 0
F2-2 | 1225 | LD |  | 175 |  |  | 0
F2-3 | 1225 | LD |  | 175 |  |  | 0
F2-4 | 1225 | LD |  | 175 |  |  | 0
F2-5 | 1225 | LD |  | 175 |  |  | 0
F2-6 | 1225 | LD |  | 175 |  |  | 0
F2-7 | 1225 | LD |  | 175 |  |  | 0
FP12-2 |  |  |  | 1225 |  | 0 | 0
F3-1 | 1242 | LD |  | 210 |  |  | 0
F3-2 | 1242 | LD |  | 210 |  |  | 0
FP12-3 |  |  |  | 420 |  | 0 | 0
F4-1 | 1244 | LD |  | 210 |  |  | 0
F4-2 | 1244 | LD |  | 210 |  |  | 0
F4-3 | 1243 | LD |  | 210 |  |  | 0
F4-4 | 1243 | LD |  | 210 |  |  | 0
FP12-4 |  |  |  | 840 |  | 0 | 0
F5-1 | 1245 | LD |  | 210 |  |  | 0
F5-2 | 1245 | LD |  | 210 |  |  | 0
FP12-5 |  |  |  | 420 |  | 0 | 0
FP-SGRD (1) |  |  |  | 4135 |  | 0 | 0

## FP-SGRD (2)
National TAB
Project: OAP - Willowbridge
Address: 1722 Routh Street, #1200 Dallas, TX 75201
Asset: FPVAV SUPPLY
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
F6-1 | 1248 | C1 |  | 210 |  |  | 0
F6-2 | 1248 | C1 |  | 210 |  |  | 0
F6-3 | 1248 | C |  | 210 |  |  | 0
F6-4 | 1248 | C |  | 210 |  |  | 0
F6-5 | 1248 | C |  | 210 |  |  | 0
F6-6 | 1248 | C |  | 210 |  |  | 0
FP12-6 |  |  |  | 1260 |  | 0 | 0
F7-1 | 1253 | LD |  | 210 |  |  | 0
F7-2 | 1253 | LD |  | 210 |  |  | 0
F7-3 | 1253 | LD |  | 210 |  |  | 0
F7-4 | 1253 | LD |  | 210 |  |  | 0
FP12-7 |  |  |  | 840 |  | 0 | 0
F8-1 | 1253 | LD |  | 210 |  |  | 0
F8-2 | 1253 | LD |  | 210 |  |  | 0
F8-3 | 1253 | LD |  | 210 |  |  | 0
F8-4 | 1253 | LD |  | 210 |  |  | 0
F8-5 | 1253 | LD |  | 210 |  |  | 0
F8-6 | 1253 | LD |  | 210 |  |  | 0
FP12-8 |  |  |  | 1260 |  | 0 | 0
F9-1 | 1254 | LD |  | 210 |  |  | 0
F9-2 | 1254 | LD |  | 210 |  |  | 0
F9-3 | 1261 | LD |  | 210 |  |  | 0
F9-4 | 1261 | LD |  | 210 |  |  | 0
F9-5 | 1262 | LD |  | 210 |  |  | 0
F9-6 | 1262 | LD |  | 210 |  |  | 0
FP12-9 |  |  |  | 1260 |  | 0 | 0
FP-SGRD (2) |  |  |  | 4620 |  | 0 | 0

## FP-SGRD (3)
National TAB
Project: OAP - Willowbridge
Address: 1722 Routh Street, #1200 Dallas, TX 75201
Asset: FPVAV SUPPLY
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
F10-1 | 1266 | LD |  | 300 |  |  | 0
F10-2 | 1266 | LD |  | 300 |  |  | 0
FP12-10 |  |  |  | 600 |  | 0 | 0
F11-1 | 1265 | LD |  | 300 |  |  | 0
F11-2 | 1265 | LD |  | 300 |  |  | 0
F11-3 | 1264 | LD |  | 300 |  |  | 0
F11-4 | 1264 | LD |  | 300 |  |  | 0
FP12-11 |  |  |  | 1200 |  | 0 | 0
F12-1 | 1267 | LD |  | 300 |  |  | 0
F12-2 | 1267 | LD |  | 300 |  |  | 0
F12-3 | 1268 | LD |  | 300 |  |  | 0
F12-4 | 1268 | LD |  | 300 |  |  | 0
F12-5 | 1269 | LD |  | 300 |  |  | 0
F12-6 | 1269 | LD |  | 300 |  |  | 0
FP12-12 |  |  |  | 1800 |  | 0 | 0
F13-1 | 1270 | LD |  | 265 |  |  | 0
F13-2 | 1270 | LD |  | 265 |  |  | 0
F13-3 | 1270 | LD |  | 245 |  |  | 0
F13-4 | 1270 | LD |  | 245 |  |  | 0
FP12-13 |  |  |  | 1020 |  | 0 | 0
F14-1 | 1273 | LD |  | 265 |  |  | 0
F14-2 | 1273 | LD |  | 265 |  |  | 0
F14-3 | 1272 | LD |  | 265 |  |  | 0
F14-4 | 1272 | LD |  | 265 |  |  | 0
F14-5 | 1271 | LD |  | 265 |  |  | 0
F14-6 | 1271 | LD |  | 265 |  |  | 0
FP12-14 |  |  |  | 1590 |  | 0 | 0
FP-SGRD (3) |  |  |  | 6210 |  | 0 | 0

## FP-SGRD (4)
National TAB
Project: OAP - Willowbridge
Address: 1722 Routh Street, #1200 Dallas, TX 75201
Asset: FPVAV SUPPLY
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
F15-1 | 1277 | LD |  | 265 |  |  | 0
F15-2 | 1277 | LD |  | 265 |  |  | 0
F15-3 | 1276 | LD |  | 265 |  |  | 0
F15-4 | 1276 | LD |  | 265 |  |  | 0
F15-5 | 1275 | LD |  | 265 |  |  | 0
F15-6 | 1275 | LD |  | 265 |  |  | 0
F15-7 | 1274 | LD |  | 265 |  |  | 0
F15-8 | 1274 | LD |  | 265 |  |  | 0
FP12-15 |  |  |  | 2120 |  | 0 | 0
F16-1 | 1278 | LD |  | 265 |  |  | 0
F16-2 | 1278 | LD |  | 265 |  |  | 0
F16-3 | 1279 | LD |  | 265 |  |  | 0
F16-4 | 1279 | LD |  | 265 |  |  | 0
F16-5 | 1280 | LD |  | 265 |  |  | 0
F16-6 | 1280 | LD |  | 265 |  |  | 0
FP12-16 |  |  |  | 1590 |  | 0 | 0
F17-1 | 1207 | LD |  | 265 |  |  | 0
F17-2 | 1207 | LD |  | 265 |  |  | 0
F17-3 | 1208 | LD |  | 265 |  |  | 0
F17-4 | 1208 | LD |  | 265 |  |  | 0
F17-5 | 1209 | LD |  | 265 |  |  | 0
F17-6 | 1209 | LD |  | 265 |  |  | 0
F17-7 | 1210 | LD |  | 265 |  |  | 0
F17-8 | 1210 | LD |  | 265 |  |  | 0
FP12-17 |  |  |  | 2120 |  | 0 | 0
FP-SGRD (4) |  |  |  | 5830 |  | 0 | 0

## FP-SGRD (5)
National TAB
Project: OAP - Willowbridge
Address: 1722 Routh Street, #1200 Dallas, TX 75201
Asset: FPVAV SUPPLY
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
F18-1 | 1220 | LD |  | 230
F18-2 | 1220 | LD |  | 230
F18-3 | 1220 | LD |  | 230
FP12-18 |  |  |  | 690 |  | 0 | 0
F19-1 | 1211 | LD |  | 240 |  |  | 0
F19-2 | 1211 | LD |  | 240 |  |  | 0
F19-3 | 1211 | LD |  | 240 |  |  | 0
F19-4 | 1211 | LD |  | 240 |  |  | 0
F19-5 | 1211 | LD |  | 240 |  |  | 0
F19-6 | 1211 | LD |  | 240 |  |  | 0
F19-7 | 1211 | LD |  | 240 |  |  | 0
FP12-19 |  |  |  | 1680 |  | 0 | 0
F20-1 | 1212 | LD |  | 265 |  |  | 0
F20-2 | 1212 | LD |  | 265 |  |  | 0
F20-3 | 1213 | LD |  | 265 |  |  | 0
F20-4 | 1213 | LD |  | 265 |  |  | 0
F20-5 | 1213 | LD |  | 265 |  |  | 0
FP12-20 |  |  |  | 1325 |  | 0 | 0
F21-1 | 1216 | LD |  | 270 |  |  | 0
F21-2 | 1216 | LD |  | 270 |  |  | 0
F21-3 | 1215 | LD |  | 270 |  |  | 0
F21-4 | 1215 | LD |  | 270 |  |  | 0
FP12-21 |  |  |  | 1080 |  | 0 | 0
FP-SGRD (5) |  |  |  | 4775 |  | 0 | 0

## FP-SGRD (6)
National TAB
Project: OAP - Willowbridge
Address: 1722 Routh Street, #1200 Dallas, TX 75201
Asset: FPVAV SUPPLY
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
F22-1 | 1217 | LD |  | 270 |  |  | 0
F22-2 | 1217 | LD |  | 270 |  |  | 0
F22-3 | 1218 | LD |  | 270 |  |  | 0
F22-4 | 1218 | LD |  | 270 |  |  | 0
F22-5 | 1219 | LD |  | 270 |  |  | 0
F22-6 | 1219 | LD |  | 270 |  |  | 0
FP12-22 |  |  |  | 1620 |  | 0 | 0
F23-1 | 1263 | LD |  | 215 |  |  | 0
F23-2 | 1263 | LD |  | 215 |  |  | 0
F23-3 | 1263 | LD |  | 215 |  |  | 0
F23-4 | 1263 | LD |  | 215 |  |  | 0
F23-5 | 1263 | LD |  | 215 |  |  | 0
F23-6 | 1263 | LD |  | 215 |  |  | 0
FP12-23 |  |  |  | 1290 |  | 0 | 0
F24-1 | 1203 | C |  | 265 |  |  | 0
F24-2 | 1203 | C |  | 265 |  |  | 0
F24-3 | 1203 | D |  | 100 |  |  | 0
F24-4 | 1203 | C |  | 265 |  |  | 0
F24-5 | 1203 | C |  | 265 |  |  | 0
FP12-24 |  |  |  | 1160 |  | 0 | 0
F25-1 | 214 | LD |  | 265 |  |  | 0
F25-2 | 214 | LD |  | 265 |  |  | 0
F25-3 | 214 | LD |  | 265 |  |  | 0
F25-4 | 214 | LD |  | 270 |  |  | 0
F25-5 | 214 | LD |  | 270 |  |  | 0
F25-6 | 214 | LD |  | 270 |  |  | 0
FP12-25 |  |  |  | 1605 |  | 0 | 0
FP-SGRD (6) |  |  |  | 5675 |  | 0 | 0

## FP-SGRD (TOTAL)
National TAB
Project: OAP - Willowbridge
Address: 1722 Routh Street, #1200 Dallas, TX 75201
Asset: FPVAV SUPPLY
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
FB-SGRD (1) |  |  |  | 4135 |  | 0 | 0
FB-SGRD (2) |  |  |  | 4620 |  | 0 | 0
FB-SGRD (3) |  |  |  | 6210 |  | 0 | 0
FB-SGRD (4) |  |  |  | 5830 |  | 0 | 0
FB-SGRD (5) |  |  |  | 4775 |  | 0 | 0
FB-SGRD (6) |  |  |  | 5675 |  | 0 | 0
TOTAL |  |  |  | 31245 |  | 0 | 0