## SUMMARY
Air Handling Units
UNIT | Area Served | Space Type(s) Served | Sq Ft of serviced area | Occupant Population | SUPPLY CFM |  | HVAC RETURN |  | OUTDOOR Air CFM
[5 empty] | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
AHU-001 | North Tower | Event
AHU-009 | Flr. G, Sector 3 Pavilion & Compass Rm | Event
AHU-010 | Amphitheater Central Area | Event
AHU-011 | Amphitheater Upper Deck | Event
AHU-012 | Amphitheater Stage and back rooms | Event
AHU-013 | Floors G, M & C Polaris, Hemisphere | Event
AHU-014 | Floors G, M & C TCMA, GSA, Mezz. Class Rms | Office
AHU-015 | Floors B3, B2 & B1 Sector 3 & 5 | Office
AHU-016 | Floors B3, B2 & B1 Sector 5 & 7 | Office
AHU-017 | Floors B3 & B2 Sector 5 & 7 | Equip
AHU-018 | Substations B4, #7, #8 & #9 | Equip
AHU-020 | Chiller Plant B4 | Office
AHU-021 | Floors B3, B2 & B1 Sector 3 & 5 | Event
AHU-022 | Floor C, Atrium Hall | Event
AHU-023 | Floor C, Atrium Ballroom | Vendor
AHU-024 N | Food Court Seating | Vendor
AHU-024 S | Food Court Seating | Vendor
AHU-025 N | Food Court Kitchen | Vendor
AHU-025 S | Food Court Kitchen | Event
AHU-026 | Merdians all, Oceanics all, Continental A | Equip
AHU-027 | Amphitheater Loading Dock B1 | Office
AHU-028 | WWC Recv & 6th Floor Board Room | Mixed
AHU-029 | Floor C Public Areas & M600 Gateway South & Childcare & UMD & Global Entry | Mixed
AHU-030 | Floor C Public Areas & M600 Gateway North & Childcare & National Children Museum | Office
AHU-031 | Floor M Sector 2 Break Room | Lobby
AHU-033 | 14th Street Lobby CBP | Lobby
AHU-034 | 14th Streeet Lobby USAID | Office
AHU-035 | Floor M Sector 6 | Office
AHU-036 | Floor M Sector 2 Break Room | Event
AHU-037 | Pavilion National Children Museum | Equip
AHU-038 | B-2 Kitchen Sector 3 | Event
AHU-039 | Reception Area of Pavilion | Mixed
AHU-040 | Sector 7, GSA Offices, Fitness Center, Cleaners | Event
AHU-041 | WWC Dining Room | Office
AHU-042 | WWC Floors 2 to 8 | Office
AHU-043 | WWC Floors 2 to 8 | Office
AHU-044 | USAID Floors 2 to 8 | Office
AHU-045 | USAID EPA Floors 2 to 8 | Office
AHU-046 | USAID Floors 2 to 8 | Office
AHU-047 | USAID Floors 2 to 8 | Office
AHU-048 | USAID Floors 2 to 8 | Office
AHU-049 | USAID Floors 2 to 8 | Office
AHU-050 | USAID EPA Floors 2 to 8 | Office
AHU-051 | USAID Floors 2 to 8 | Office
AHU-052 | CBP Floors 2 to 8 | Office

## SUMMARY (2)
Air Handling Units
UNIT | Area Served | Space Type(s) Served | Sq Ft of serviced area | Occupant Population | SUPPLY CFM |  | HVAC RETURN |  | OUTDOOR Air CFM
[5 empty] | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
AHU-053 | CBP Floors 2 to 8 | Office
AHU-054 | CBP Floors 2 to 8 | Office
AHU-055 | CBP Floors 2 to 8 | Office
AHU-056 | CBP Floors 2 to 8 | Office
AHU-057 | CBP Floors 2 to 8 | Office
AHU-058 | WWC Kitchen, 6th Floor | Equip
AHU-059 | Receiving Dock B-2 | Equip
AHU-060N | Atrium North from 14st to Hemicycle | Event
AHU-060S | Atrium South from 14st to Hemicycle | Event
AHU-061 | Substation B1 | Equip
AHU-062 | Substation B1 | Equip
AHU-065 | NW Mezzanine. VIP/ITC Entrance FPS | Office
AHU-068 | WWC Audit | Office
AHU-069 | Rotunda | Event
AHU-070 | Transformer Room | Equip
AHU-071 | Childcare | Childcare
AHU-072 | Sect 6 Mezzanine Childcare | Childcare
AHU-073 | NW Mezzanine B-Lobby | Event
AHU-074 | B1 Loading Dock | Equip
AHU-075 | B1 Loading Dock | Equip
AHU-076 | WWC Audit Entrance | Event
AHU-077 | WWC. Atrium | Event
AHU-078 | WWC. Atrium | Event
AHU-079 | Elevator Mech Room | Equip
AHU-080 | Elevator Mech Room | Equip
AHU-081 | Elevator Mech Room | Equip
AHU-082 | Elevator Mech Room | Equip
AHU-083 | Elevator Mech Room | Equip
AHU-084 | Elevator Mech Room | Equip
AHU-085 | Elevator Mech Room | Equip
AHU-086 | Elevator Mech Room | Equip
AHU-087 | Elevator Mech Room | Equip
AHU-088 | Elevator Mech Room | Equip
AHU-089 | Elevator Mech Room | Equip
AHU-090 | Elevator Mech Room | Equip
AHU-091 | Elevator Mech Room | Equip
AHU-092 | Elevator Mech Room | Equip
AHU-093 | Elevator Mech Room | Equip
AHU-094 | Elevator Mech Room | Equip
AHU-095 | Elevator Mech Room | Equip
AHU-096 | Elevator Mech Room | Equip
AHU-097 | Elevator Mech Room | Equip
AHU-098 | Elevator Mech Room | Equip
AHU-099 | Elevator Mech Room | Equip
AHU-100 | Elevator Mech Room | Equip

## SUMMARY (3)
Air Handling Units
UNIT | Area Served | Space Type(s) Served | Sq Ft of serviced area | Occupant Population | SUPPLY CFM |  | HVAC RETURN |  | OUTDOOR Air CFM
[5 empty] | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
AHU-101 | Elevator Mech Room | Equip
AHU-102 | Elevator Mech Room | Equip
AHU-103 | Elevator Mech Room | Equip
AHU-104 | Elevator Mech Room | Equip
AHU-105 | Elevator Mech Room | Equip
AHU-106 | Elevator Mech Room | Equip
AHU-107 | Elevator Mech Room | Equip
AHU-108 | Elevator Mech Room | Equip
AHU-109 | Elevator Mech Room | Equip
AHU-110 | Elevator Mech Room | Equip
AHU-111 | Elevator Mech Room | Equip
AHU-115 | Commerce Tunnel | Hallway
AHU-120 | WWC Storeroom B2 | Equip
AHU-121 | USAID Computer Room | Equip
AHU-125 | CBP Floor 7 Secure Area | Office
AHU-126 | CBP Studio | Office
AHU-128 | WWC Audio Visual Room | Equip
AHU-129 | Rotunda Reception Area | Event