## GSA Survey
1
Building Name | Ronald Reagan Building
AHU Number | AHU-001 | [6 empty] | AHU-009 | AHU-010 | AHU-011 | AHU-012 | AHU-013 | AHU-014 | AHU-015 | AHU-016 | AHU-017 | AHU-018 | AHU-020 | AHU-021 | AHU-022 | AHU-023 | AHU-024 N | AHU-024 S | AHU-025 N | AHU-025 S | AHU-026 | AHU-027 | AHU-028 | AHU-029 | AHU-030 | AHU-031 | AHU-033 | AHU-034 | AHU-035 | AHU-036 | AHU-037 | AHU-038 | AHU-039 | AHU-040 | AHU-041 | AHU-042 | AHU-043 | AHU-044 | AHU-045 | AHU-046 | AHU-047 | AHU-048 | AHU-049 | AHU-050 | AHU-051 | AHU-052 | AHU-053 | AHU-054 | AHU-055 | AHU-056 | AHU-057 | AHU-058 | AHU-059 | AHU-060N | AHU-060S | AHU-061 | AHU-062 | AHU-065 | AHU-068 | AHU-069 | AHU-070 | AHU-071 | AHU-072 | AHU-073 | AHU-074 | AHU-075 | AHU-076 | AHU-077 | AHU-078 | AHU-079 | AHU-080 | AHU-081 | AHU-082 | AHU-083 | AHU-084 | AHU-085 | AHU-086 | AHU-087 | AHU-088 | AHU-089 | AHU-090 | AHU-091 | AHU-092 | AHU-093 | AHU-094 | AHU-095 | AHU-096 | AHU-097 | AHU-098 | AHU-099 | AHU-100 | AHU-101 | AHU-102 | AHU-103 | AHU-104 | AHU-105 | AHU-106 | AHU-107 | AHU-108 | AHU-109 | AHU-110 | AHU-111 | AHU-115 | AHU-120 | AHU-121 | AHU-125 | AHU-126 | AHU-128 | AHU-129
Current BAS | Siemens Apogee
Current BAS Contractor | NA
O&M Name & Number | Centerra Integrated Services
Areas / Floors Serviced | North Tower ITC 2-8 | North Tower ITC 2-8 | North Tower EPA 2-8 | North Tower EPA 2-8 | B1 Sect 1, AV Room | Floors C&G, Amphitheater Lobby | Floors C&G Sect 7 Fitness Cent | Flr. G, Sector 3 Pavilion & Compass Rm | Amphitheater Central Area | Amphitheater Upper Deck | Amphitheater Stage and back rooms | Floors G, M & C Polaris, Hemisphere | Floors G, M & C TCMA, GSA, Mezz. Class Rms | Floors B3, B2 & B1 Sector 3 & 5 | Floors B3, B2 & B1 Sector 5 & 7 | Floors B3 & B2 Sector 5 & 7 | Substations B4, #7, #8 & #9 | Chiller Plant B4 | Floors B3, B2 & B1 Sector 3 & 5 | Floor C, Atrium Hall | Floor C, Atrium Ballroom | Food Court Seating | Food Court Seating | Food Court Kitchen | Food Court Kitchen | Merdians all, Oceanics all, Continental A | Amphitheater Loading Dock B1 | WWC Recv & 6th Floor Board Room | Floor C Public Areas & M600 Gateway South & Childcare & UMD & Global Entry | Floor C Public Areas & M600 Gateway North & Childcare & National Children Museum | Floor M Sector 2 Break Room | 14th Street Lobby CBP | 14th Streeet Lobby USAID | Floor M Sector 6 | Floor M Sector 2 Break Room | Pavilion National Children Museum | B-2 Kitchen Sector 3 | Reception Area of Pavilion | Sector 7, GSA Offices, Fitness Center, Cleaners | WWC Dining Room | WWC Floors 2 to 8 | WWC Floors 2 to 8 | USAID Floors 2 to 8 | USAID EPA Floors 2 to 8 | USAID Floors 2 to 8 | USAID Floors 2 to 8 | USAID Floors 2 to 8 | USAID Floors 2 to 8 | USAID EPA Floors 2 to 8 | USAID Floors 2 to 8 | CBP Floors 2 to 8 | CBP Floors 2 to 8 | CBP Floors 2 to 8 | CBP Floors 2 to 8 | CBP Floors 2 to 8 | CBP Floors 2 to 8 | WWC Kitchen, 6th Floor | Receiving Dock B-2 | Atrium North from 14st to Hemicycle | Atrium South from 14st to Hemicycle | Substation B1 | Substation B1 | NW Mezzanine. VIP/ITC Entrance FPS | WWC Audit | Rotunda | Transformer Room | Childcare | Sect 6 Mezzanine Childcare | NW Mezzanine B-Lobby | B1 Loading Dock | B1 Loading Dock | WWC Audit Entrance | WWC. Atrium | WWC. Atrium | Elevator Mech Room | Elevator Mech Room | Elevator Mech Room | Elevator Mech Room | Elevator Mech Room | Elevator Mech Room | Elevator Mech Room | Elevator Mech Room | Elevator Mech Room | Elevator Mech Room | Elevator Mech Room | Elevator Mech Room | Elevator Mech Room | Elevator Mech Room | Elevator Mech Room | Elevator Mech Room | Elevator Mech Room | Elevator Mech Room | Elevator Mech Room | Elevator Mech Room | Elevator Mech Room | Elevator Mech Room | Elevator Mech Room | Elevator Mech Room | Elevator Mech Room | Elevator Mech Room | Elevator Mech Room | Elevator Mech Room | Elevator Mech Room | Elevator Mech Room | Elevator Mech Room | Elevator Mech Room | Elevator Mech Room | Commerce Tunnel | WWC Storeroom B2 | USAID Computer Room w/EF 121 | CBP Floor 7 Secure Area 7.4A | CBP Studio | WWC Audio Visual Room | Rotunda Reception Area
Space Types Served | Office | Office | Office | Office | Equip | Event | Gym | Event | Event | Event | Event | Event | Event | Office | Office | Office | Equip | Equip | Office | Event | Event | Vendor | Vendor | Vendor | Vendor | Event | Equip | Office | Mixed | Mixed | Office | Lobby | Lobby | Office | Office | Event | Equip | Event | Mixed | Event | Office | Office | Office | Office | Office | Office | Office | Office | Office | Office | Office | Office | Office | Office | Office | Office | Equip | Equip | Event | Event | Equip | Equip | Office | Office | Event | Equip | Childcare | Childcare | Event | Equip | Equip | Event | Event | Event | Equip | Equip | Equip | Equip | Equip | Equip | Equip | Equip | Equip | Equip | Equip | Equip | Equip | Equip | Equip | Equip | Equip | Equip | Equip | Equip | Equip | Equip | Equip | Equip | Equip | Equip | Equip | Equip | Equip | Equip | Equip | Equip | Equip | Hallway | Equip | Equip | Office | Office | Equip | Event
Standard and New Extended Operating Hours
Standard Start
Standard End
New Start
New End
Design OA Minimum (from eisting drawings)
Design OA Maximum (from eisting drawings)
ASHRAE MIN CFM or OA (calculated)
Sq Ft of serviced area
Occupant Population