## OAHU 11-1
National TAB
Project: CW 2999 - Verily Floor 9
Address: 2999 Olympus Blvd Dallas, TX
Asset: OAHU 11-1 |  | Area: OA VAV's (ALL FLOORS)
Unit Data |  |  | Test Data
Manufacturer | DAIKIN |  |  | Design | Actual
Model Number | OAH071GVDM |  | Total CFM | 40000
Serial Number |  |  | Fan RPM | 1070
Configuration | HORIZONTAL |  | RA CFM | 0
No. Pre Filters / Size |  |  | OA CFM | 40000
No. Pre Filters / Size |  |  | Operating HZ
No. Pre Filters / Size |  |  | RL Voltage | 460
No. Final Filters / Size |  |  | RL Amperage | 57.00
No. Final Filters / Size |  |  | Motor B.H.P.
No. Final Filters / Size
Performance Data
Motor Data |  |  |  | Design | Actual
Motor MFG / Frame |  |  | Suction S.P.
Horsepower / RPM | 50 / 1750 |  | Discharge S.P.
Rated Volts / Phase | 460 / 3 |  | Total SP | 4.12
Rated Amperage / SF | 57.00 |  | CW Coil P.D.
HW Coil P.D.
Drive Data |  |  | Final Filters P.D.
| Actual |  | Heat Wheel P.D.
Motor Sheave Size |  |  | Pre Filters P.D.
Motor Bore Size |  |  | Total ESP | 2.50
Fan Sheave Size
Fan Bore Size
Belt CL Distance
No of Belts
Belt Size

## SCU-9-1
National TAB
Project: CW 2999 - Verily Floor 9
Address: 2999 Olympus Blvd Dallas, TX
Asset: SCU-9-1 |  | Area: FLOOR 9
Unit Data |  |  | Test Data
Manufacturer | DAIKIN |  |  | Design | Actual
Model Number | SWP099HLH |  | Total CFM | 32000
Serial Number |  |  | Fan RPM | 1014
Configuration | HORIZONTAL |  | RA CFM | 28000
No. Pre Filters / Size |  |  | OA CFM | 4000
No. Pre Filters / Size |  |  | Operating HZ
No. Pre Filters / Size |  |  | RL Voltage | 460
No. Final Filters / Size |  |  | RL Amperage | 57.0
No. Final Filters / Size |  |  | Motor B.H.P.
No. Final Filters / Size
Performance Data
Motor Data |  |  |  | Design | Actual
Motor MFG / Frame |  |  | Suction S.P.
Horsepower / RPM | 50 / 1775 |  | Discharge S.P.
Rated Volts / Phase | 460 / 3 |  | Total SP | 4.21
Rated Amperage / SF | 57.0 |  | CW Coil P.D.
HW Coil P.D.
Drive Data |  |  | Final Filters P.D.
| Actual |  | Heat Wheel P.D.
Motor Sheave Size |  |  | Pre Filters P.D.
Motor Bore Size |  |  | Total ESP | 3.00
Fan Sheave Size
Fan Bore Size
Belt CL Distance
No of Belts
Belt Size
NOTES: Outside Air is supplied by a VAV from OAHU.

## AC-9-1
National TAB
Project: CW 2999 - Verily Floor 9
Address: Address: 2999 Olympus Blvd Dallas, TX
Asset: AC-9-1 |  | Area: SERVER 911 (TWINNED WITH AC-9-2)
Unit Data |  |  |  |  | Test Data
MFG | [5 empty] | Design | Actual
Model Num |  |  |  |  | SA CFM | 885
Serial Num |  |  |  |  | Fan Speed
OA CFM
RA CFM
Motor Data |  |  |  |  | RL Voltage | 208
Motor MFG |  |  |  |  | RL Amperage | 2.8
Horsepower |  |  |  |  | Suction ESP
Motor Rpm |  |  |  |  | Discharge ESP
Phase | 1 |  |  |  | Total ESP | 0.3
Voltage (rated) | 208 |  |  |  | Brake HP
Amperage (rated) | 2.8
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
AC91-1 | 911 | I | 18X10 | 590 |  |  | 0
AC91-2 | 911 | I | 18X10 | 590 |  |  | 0
AC91-3 | 911 | I | 18X10 | 590 |  |  | 0
|  |  |  | 1770 |  |  | 0
Note on A5: USE FOR: FAN COIL UNIT SPLIT SYSTEM FURNACE HEAT PUMP

## AC-9-2
National TAB
Project: CW 2999 - Verily Floor 9
Address: Address: 2999 Olympus Blvd Dallas, TX
Asset: AC-9-2 |  | Area: SERVER 911 (TWINNED WITH AC-9-1)
Unit Data |  |  | Test Data
MFG |  |  |  | Design | Actual
Model Num |  |  | SA CFM | 885
Serial Num |  |  | Fan Speed
OA CFM
RA CFM
Motor Data |  |  | RL Voltage | 208
Motor MFG |  |  | RL Amperage | 2.8
Horsepower |  |  | Suction ESP
Motor Rpm |  |  | Discharge ESP
Phase | 1 |  | Total ESP | 0.3
Voltage (rated) | 208 |  | Brake HP
Amperage (rated) | 2.8
NOTE: SEE AC-9-1 FOR DIFFUSERS
Note on A5: USE FOR: FAN COIL UNIT SPLIT SYSTEM FURNACE HEAT PUMP

## Floor 9 FPB's
National TAB
Project: CW 2999 - Verily Floor 9
Address: Address: 2999 Olympus Blvd Dallas, TX
Asset: SCU-9-1 Fan Powered Boxes
Asset | Area Served | Address | Type | Size | Design Max CFM | Actual Max CFM | Design Min CFM | Min CFM | Design Fan + Heat CFM | Actual Fan + Heat CFM | Ak (max)
FPB-9-1 | 928 |  |  |  | 1440 |  | 288 |  | 1008
FPB-9-2 | 928 |  |  |  | 860 |  | 172 |  | 602
FPB-9-3 | 928 |  |  |  | 1000 |  | 200 |  | 700
FPB-9-4 | 928 |  |  |  | 1430 |  | 286 |  | 1001
FPB-9-5 | HALL |  |  |  | 1025 |  | 205 |  | 717.5
FPB-9-6 | HALL |  |  |  | 1080 |  | 216 |  | 756
FPB-9-7 | HALL |  |  |  | 720 |  | 144 |  | 504
FPB-9-8 | HALL |  |  |  | 850 |  | 170 |  | 595
FPB-9-9 | 938 |  |  |  | 660 |  | 132 |  | 462
FPB-9-10 | 939 |  |  |  | 800 |  | 160 |  | 560
FPB-9-11 | 943 |  |  |  | 1040 |  | 208 |  | 728
FPB-9-12 | 943 |  |  |  | 1040 |  | 208 |  | 728
FPB-9-13 | 945 |  |  |  | 1030 |  | 206 |  | 721
FPB-9-14 | 946 |  |  |  | 730 |  | 146 |  | 511
FPB-9-15 | 902 HALL |  |  |  | 540 |  | 108 |  | 378
FPB-9-16 | 915 |  |  |  | 640 |  | 128 |  | 448
FPB-9-17 | 916 |  |  |  | 440 |  | 88 |  | 308
FPB-9-18 | 919 |  |  |  | 510 |  | 102 |  | 357
FPB-9-19 | 923 |  |  |  | 1400 |  | 280 |  | 980
FPB-9-20 | 926 HALL |  |  |  | 1275 |  | 255 |  | 892.5
FPB-9-21 | 926 |  |  |  | 770 |  | 154 |  | 539
FPB-9-22 | 928 |  |  |  | 900 |  | 180 |  | 630
[5 empty] | 20180 | 0 | 4036 | 0 | 14126 | 0
NOTES: BOX MINIMUM AIR FOR ALL BOXES TO 20% OF SCHEDULED COOLING CFM (ADJUSTABLE). HEAT IS 70% DESIGN MAX.
Note on C7: NTAB: BILLINGSLEY ONLY
Note on J7: NTAB: Fan PLUS Heat CFM

## FPB SGRD's (1)
National TAB
Project: CW 2999 - Verily Floor 9
Address: Address: 2999 Olympus Blvd Dallas, TX
Asset: SGRD's
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
F9-1-1 | 928 | C1 | 10 | 240 |  |  | 0
F9-1-2 | 928 | C1 | 10 | 240 |  |  | 0
F9-1-3 | 928 | C1 | 10 | 240 |  |  | 0
F9-1-4 | 928 | C1 | 10 | 240 |  |  | 0
F9-1-5 | 928 | C1 | 10 | 240 |  |  | 0
F9-1-6 | 928 | C1 | 10 | 240 |  |  | 0
FPB-9-1 |  |  |  | 1440 |  | 0 | 0
F9-2-1 | 928 | C1 | 10 | 215 |  |  | 0
F9-2-2 | 928 | C1 | 10 | 215 |  |  | 0
F9-2-3 | 928 | C1 | 10 | 215 |  |  | 0
F9-2-4 | 928 | C1 | 10 | 215 |  |  | 0
FPB-9-2 |  |  |  | 860 |  | 0 | 0
F9-3-1 | 928 | C1 | 10 | 215 |  |  | 0
F9-3-2 | 928 | C1 | 10 | 215 |  |  | 0
F9-3-3 | 928 | C1 | 10 | 215 |  |  | 0
F9-3-4 | 928 | C1 | 10 | 215 |  |  | 0
F9-3-5 | 928 | A | 8 | 140 |  |  | 0
FPB-9-3 |  |  |  | 1000 |  | 0 | 0
F9-4-1 | 928 | C1 | 10 | 215 |  |  | 0
F9-4-2 | 928 | C1 | 10 | 215 |  |  | 0
F9-4-3 | 928 | A | 8 | 140 |  |  | 0
F9-4-4 | 928 | C1 | 10 | 215 |  |  | 0
F9-4-5 | 928 | C1 | 10 | 215 |  |  | 0
F9-4-6 | HALL | C1 | 10 | 215 |  |  | 0
F9-4-7 | HALL | C1 | 10 | 215 |  |  | 0
FPB-9-4 |  |  |  | 1430 |  | 0 | 0
F9-5-1 | HALL | C1 | 10 | 255 |  |  | 0
F9-5-2 | HALL | C1 | 10 | 255 |  |  | 0
F9-5-3 | HALL | C1 | 8 | 130 |  |  | 0
F9-5-4 | HALL | C1 | 8 | 130 |  |  | 0
F9-5-5 | HALL | C1 | 10 | 255 |  |  | 0
FPB-9-5 |  |  |  | 1025 |  | 0 | 0

## FPB SGRD's (2)
National TAB
Project: CW 2999 - Verily Floor 9
Address: Address: 2999 Olympus Blvd Dallas, TX
Asset: SGRD's
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
F9-6-1 | HALL | C1 | 10 | 180 |  |  | 0
F9-6-2 | HALL | C1 | 10 | 180 |  |  | 0
F9-6-3 | HALL | C1 | 10 | 180 |  |  | 0
F9-6-4 | HALL | C1 | 10 | 180 |  |  | 0
F9-6-5 | HALL | C1 | 10 | 180 |  |  | 0
F9-6-6 | HALL | C1 | 10 | 180 |  |  | 0
FPB-9-6 |  |  |  | 1080 |  | 0 | 0
F9-7-1 | HALL | C1 | 10 | 180 |  |  | 0
F9-7-2 | HALL | C1 | 10 | 180 |  |  | 0
F9-7-3 | HALL | C1 | 10 | 180 |  |  | 0
F9-7-4 | HALL | C1 | 10 | 180 |  |  | 0
FPB-9-7 |  |  |  | 720 |  | 0 | 0
F9-8-1 | HALL | C1 | 10 | 180 |  |  | 0
F9-8-2 | HALL | C1 | 10 | 180 |  |  | 0
F9-8-3 | HALL | C1 | 10 | 245 |  |  | 0
F9-8-4 | HALL | C1 | 10 | 245 |  |  | 0
FPB-9-8 |  |  |  | 850 |  | 0 | 0
F9-9-1 | 938 | C | 10 | 165 |  |  | 0
F9-9-2 | 938 | C | 10 | 165 |  |  | 0
F9-9-3 | 938 | C | 10 | 165 |  |  | 0
F9-9-4 | 938 | C | 10 | 165 |  |  | 0
FPB-9-9 |  |  |  | 660 |  | 0 | 0
F9-10-1 | 942 | C1 | 8 | 90 |  |  | 0
F9-10-2 | 942 | C | 10 | 260 |  |  | 0
F9-10-3 | 941 | C | 10 | 180 |  |  | 0
F9-10-4 | 939 | C1 | 8 | 90 |  |  | 0
F9-10-5 | 939 | C1 | 8 | 90 |  |  | 0
F9-10-6 | 938 | C1 | 8 | 90 |  |  | 0
FPB-9-10 |  |  |  | 800 |  | 0 | 0
F9-11-1 | 943 | C1 | 10 | 260 |  |  | 0
F9-11-2 | 943 | C1 | 10 | 260 |  |  | 0
F9-11-3 | 943 | C1 | 10 | 260 |  |  | 0
F9-11-4 | 943 | C1 | 10 | 260 |  |  | 0
FPB-9-11 |  |  |  | 1040 |  | 0 | 0

## FPB SGRD's (3)
National TAB
Project: CW 2999 - Verily Floor 9
Address: Address: 2999 Olympus Blvd Dallas, TX
Asset: SGRD's
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
F9-12-1 | 943 | C1 | 10 | 200 |  |  | 0
F9-12-2 | 943 | C1 | 10 | 200 |  |  | 0
F9-12-3 | 943 | C1 | 10 | 150 |  |  | 0
F9-12-4 | 943 | C1 | 10 | 150 |  |  | 0
F9-12-5 | 943 | C1 | 10 | 170 |  |  | 0
F9-12-6 | 943 | C1 | 10 | 170 |  |  | 0
FPB-9-12 |  |  |  | 1040 |  | 0 | 0
F9-13-1 | 943 | C1 | 10 | 170 |  |  | 0
F9-13-2 | 943 | C1 | 10 | 170 |  |  | 0
F9-13-3 | 943 | C1 | 8 | 90 |  |  | 0
F9-13-4 | 944 | C1 | 8 | 90 |  |  | 0
F9-13-5 | 944 | C1 | 10 | 170 |  |  | 0
F9-13-6 | 945 | C1 | 10 | 170 |  |  | 0
F9-13-7 | 945 | C1 | 10 | 170 |  |  | 0
FPB-9-13 |  |  |  | 1030 |  | 0 | 0
F9-14-1 | 946 | A | 8 | 100 |  |  | 0
F9-14-2 | 946 | C1 | 10 | 170 |  |  | 0
F9-14-3 | 946 | C | 10 | 230 |  |  | 0
F9-14-4 | 946 | C1 | 10 | 230 |  |  | 0
FPB-9-14 |  |  |  | 730 |  | 0 | 0
F9-15-1 | 902 HALL | C1 | 10 | 180 |  |  | 0
F9-15-2 | 902 HALL | C1 | 10 | 180 |  |  | 0
F9-15-3 | 902 HALL | C1 | 10 | 180 |  |  | 0
FPB-9-15 |  |  |  | 540 |  | 0 | 0
F9-16-1 | 915 | C | 10 | 200 |  |  | 0
F9-16-2 | 915 | C1 | 10 | 170 |  |  | 0
F9-16-3 | 915 | A | 8 | 100 |  |  | 0
F9-16-4 | 915 | C1 | 10 | 170 |  |  | 0
FPB-9-16 |  |  |  | 640 |  | 0 | 0
F9-17-1 | 913 | C1 | 10 | 170 |  |  | 0
F9-17-2 | 913 | A | 8 | 100 |  |  | 0
F9-17-3 | 913 | C1 | 10 | 170 |  |  | 0
FPB-9-17 |  |  |  | 440 |  | 0 | 0

## FPB SGRD's (4)
National TAB
Project: CW 2999 - Verily Floor 9
Address: Address: 2999 Olympus Blvd Dallas, TX
Asset: SGRD's
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
F9-18-1 | 917 | C | 10 | 170 |  |  | 0
F9-18-2 | 918 | C | 10 | 170 |  |  | 0
F9-18-3 | 919 | C | 10 | 170 |  |  | 0
FPB-9-18 |  |  |  | 510 |  | 0 | 0
F9-19-1 | 923 | C1 | 10 | 255 |  |  | 0
F9-19-2 | 923 | C1 | 10 | 255 |  |  | 0
F9-19-3 | 923 | C1 | 10 | 255 |  |  | 0
F9-19-4 | 923 | C1 | 10 | 255 |  |  | 0
F9-19-5 | 923 | C1 | 8 | 125 |  |  | 0
F9-19-6 | 923 | C1 | 10 | 255 |  |  | 0
FPB-9-19 |  |  |  | 1400 |  | 0 | 0
F9-20-1 |  | C1 | 10 | 255 |  |  | 0
F9-20-2 |  | C1 | 10 | 255 |  |  | 0
F9-20-3 |  | C1 | 10 | 255 |  |  | 0
F9-20-4 |  | C1 | 10 | 255 |  |  | 0
F9-20-5 |  | C1 | 10 | 255 |  |  | 0
FPB-9-20 |  |  |  | 1275 |  | 0 | 0
F9-21-1 |  | C1 | 8 | 130 |  |  | 0
F9-21-2 |  | C1 | 8 | 130 |  |  | 0
F9-21-3 |  | C1 | 10 | 170 |  |  | 0
F9-21-4 |  | C1 | 10 | 170 |  |  | 0
F9-21-5 |  | C1 | 10 | 170 |  |  | 0
FPB-9-21 |  |  |  | 770 |  | 0 | 0
F9-22-1 |  | C1 | 10 | 150 |  |  | 0
F9-22-2 |  | C1 | 10 | 150 |  |  | 0
F9-22-3 |  | C1 | 10 | 150 |  |  | 0
F9-22-4 |  | C1 | 10 | 150 |  |  | 0
F9-22-5 |  | C1 | 10 | 150 |  |  | 0
F9-22-6 |  | C1 | 10 | 150 |  |  | 0
FPB-9-22 |  |  |  | 900 |  | 0 | 0

## Floor 9 VAVs
National TAB
Project: CW 2999 - Verily Floor 9
Address: Address: 2999 Olympus Blvd Dallas, TX
Asset: Floor 9 VAV's
Asset | Area Served | Address | Type | Size | Design Max CFM | Actual Max CFM | Design Min CFM | Actual Min CFM | Design Heat CFM | Actual Heat CFM | Ak (max)
VAV-9-3 | 928 |  |  |  | 1005 |  | 201
VAV-9-4 | 910 |  |  |  | 200 |  | 40
VAV-9-5 | HALL |  |  |  | 250 |  | 50
VAV-9-6 | 943 |  |  |  | 1200 |  | 240
VAV-9-7 | 936 |  |  |  | 200 |  | 40
VAV-9-8 | 943 |  |  |  | 1400 |  | 280
VAV-9-9 | 948 |  |  |  | 435 |  | 87
VAV-9-10 | 902 |  |  |  | 460 |  | 92
VAV-9-11 | 912 |  |  |  | 630 |  | 126
VAV-9-12 | 923 |  |  |  | 750 |  | 150
VAV-9-13 | 923 |  |  |  | 750 |  | 150
VAV-9-14 | 921 |  |  |  | 390 |  | 78
VAV-9-15 | 926 |  |  |  | 1450 |  | 290
VAV-9-16 | 928 |  |  |  | 450 |  | 90
VAV-9-17 | 932 |  |  |  | 690 |  | 138
[5 empty] | 10260 | 0 | 2052 | 0 | 0 | 0
NOTES: | BOX MINIMUM SETPOINT TO BE SET AT 20% OF COOLING CFM (ADJUSTABLE).
Note on C7: NTAB: BILLINGSLEY ONLY

## VAV SGRD's (1)
National TAB
Project: CW 2999 - Verily Floor 9
Address: Address: 2999 Olympus Blvd Dallas, TX
Asset: VAV SGRD's
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
V9-3-1 | 928 | I | 10X10 | 335 |  |  | 0
V9-3-2 | 928 | I | 10X10 | 335 |  |  | 0
V9-3-3 | 928 | I | 10X10 | 335 |  |  | 0
VAV-9-3 |  |  |  | 1005 |  | 0 | 0
V9-4-1 | 910 | A | 8 | 50 |  |  | 0
V9-4-2 | 909 | A | 8 | 50 |  |  | 0
V9-4-3 | 908 | A | 8 | 100 |  |  | 0
VAV-9-4 |  |  |  | 200 |  | 0 | 0
V9-5-1 | HALL | C1 | 8 | 100 |  |  | 0
V9-5-2 | HALL | C1 | 8 | 100 |  |  | 0
V9-5-3 | 935 | A | 8 | 50 |  |  | 0
VAV-9-5 |  |  |  | 250 |  | 0 | 0
V9-6-1 | 943 | A | 8 | 200 |  |  | 0
V9-6-2 | 943 | A | 8 | 200 |  |  | 0
V9-6-3 | 943 | A | 8 | 200 |  |  | 0
V9-6-4 | 943 | A | 8 | 200 |  |  | 0
V9-6-5 | 943 | A | 8 | 200 |  |  | 0
V9-6-6 | 943 | A | 8 | 200 |  |  | 0
VAV-9-6 |  |  |  | 1200 |  | 0 | 0
V9-7-1 | 937 | A | 8 | 100 |  |  | 0
V9-7-2 | 936 | A | 8 | 100 |  |  | 0
VAV-9-7 |  |  |  | 200 |  | 0 | 0
V9-8-1 | 943 | A | 8 | 200 |  |  | 0
V9-8-2 | 943 | I | 14X6 | 400 |  |  | 0
V9-8-3 | 943 | A | 8 | 200 |  |  | 0
V9-8-4 | 943 | A | 8 | 200 |  |  | 0
V9-8-5 | 943 | I | 14X6 | 400 |  |  | 0
VAV-9-8 |  |  |  | 1400 |  | 0 | 0
V9-9-1 | 947 | A | 8 | 155 |  |  | 0
V9-9-2 | 949 | A | 8 | 75 |  |  | 0
V9-9-3 | 948 | A | 8 | 155 |  |  | 0
V9-9-4 | 950 | A | 8 | 50 |  |  | 0
VAV-9-9 |  |  |  | 435 |  | 0 | 0

## VAV SGRD's (2)
National TAB
Project: CW 2999 - Verily Floor 9
Address: Address: 2999 Olympus Blvd Dallas, TX
Asset: VAV SGRD's
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
V9-10-1 | 902 | I | 10X8 | 230 |  |  | 0
V9-10-2 | 902 | I | 10X8 | 230 |  |  | 0
VAV-9-10 |  |  |  | 460 |  | 0 | 0
V9-11-1 | 914 | A | 8 | 100 |  |  | 0
V9-11-2 | 903 | C1 | 8 | 90 |  |  | 0
V9-11-3 | 913 | A | 8 | 50 |  |  | 0
V9-11-4 | 904 | C1 | 8 | 90 |  |  | 0
V9-11-5 | 906 | A | 8 | 50 |  |  | 0
V9-11-6 | 912 | A | 8 | 200 |  |  | 0
V9-11-7 | 907 | A | 8 | 50 |  |  | 0
VAV-9-11 |  |  |  | 630 |  | 0 | 0
V9-12-1 | 923 | C1 | 10 | 175 |  |  | 0
V9-12-2 | 923 | A | 8 | 200 |  |  | 0
V9-12-3 | 923 | C1 | 10 | 175 |  |  | 0
V9-12-4 | 923 | A | 8 | 200 |  |  | 0
VAV-9-12 |  |  |  | 750 |  | 0 | 0
V9-13-1 | 923 | C1 | 10 | 175 |  |  | 0
V9-13-2 | 923 | C1 | 10 | 175 |  |  | 0
V9-13-3 | 923 | A | 8 | 200 |  |  | 0
V9-13-4 | 923 | A | 8 | 200 |  |  | 0
VAV-9-13 |  |  |  | 750 |  | 0 | 0
V9-14-1 | 920 | A | 8 | 145 |  |  | 0
V9-14-2 | 921 | A | 8 | 145 |  |  | 0
V9-14-3 | 922 | A | 8 | 100 |  |  | 0
VAV-9-14 |  |  |  | 390 |  | 0 | 0
V9-15-1 | 926 | C1 | 10 | 290 |  |  | 0
V9-15-2 | 926 | C1 | 10 | 290 |  |  | 0
V9-15-3 | 926 | C1 | 10 | 290 |  |  | 0
V9-15-4 | 926 | C1 | 10 | 290 |  |  | 0
V9-15-5 | 926 | C1 | 10 | 290 |  |  | 0
VAV-9-15 |  |  |  | 1450 |  | 0 | 0

## VAV SGRD's (3)
National TAB
Project: CW 2999 - Verily Floor 9
Address: Address: 2999 Olympus Blvd Dallas, TX
Asset: VAV SGRD's
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
V9-16-1 | 928 | C1 | 10 | 200 |  |  | 0
V9-16-2 | 928 | C1 | 10 | 200 |  |  | 0
V9-16-3 | 925 | A | 8 | 50 |  |  | 0
VAV-9-16 |  |  |  | 450 |  | 0 | 0
V9-17-1 | 929 | A | 8 | 155 |  |  | 0
V9-17-2 | 930 | A | 8 | 155 |  |  | 0
V9-17-3 | 931 | A | 8 | 155 |  |  | 0
V9-17-4 | 932 | A | 8 | 75 |  |  | 0
V9-17-5 | 933 | A | 8 | 75 |  |  | 0
V9-17-6 | 934 | A | 8 | 75 |  |  | 0
VAV-9-17 |  |  |  | 690 |  | 0 | 0
V9-18-1 | 924 | A |  | 200 |  |  | 0
V9-18-2 | 924 | A |  | 200 |  |  | 0
VAV-9-18 |  |  |  | 400 |  | 0 | 0

## EGRD's
National TAB
Project: CW 2999 - Verily Floor 9
Address: Address: 2999 Olympus Blvd Dallas, TX
Asset: EGRD's (CONNECT TO EXISTING EXHAUST DUCT)
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
E-9-1 | 904 | D | 8 | 100 |  |  | 0
E-9-2 | 903 | D | 8 | 100 |  |  | 0
|  |  |  | 200 |  | 0 | 0