## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
RTU-1 | SALES | 4880 |  | 4880 | 0 | 0 |  | 0% | #DIV/0!
RTU-2 | SALES | 4580 |  | 4580 | 0 | 0 |  | 0% | #DIV/0!
RTU-3 | SALES | 4425 |  | 4425 | 0 | 0 |  | 0% | #DIV/0!
RTU-4 | SALES | 4530 |  | 4530 | 0 | 0 |  | 0% | #DIV/0!
RTU-5 | SALES | 4610 |  | 4610 | 0 | 0 |  | 0% | #DIV/0!
RTU-6 | SALES | 4510 |  | 4510 | 0 | 0 |  | 0% | #DIV/0!
RTU-7 | SALES | 4545 |  | 4545 | 0 | 0 |  | 0% | #DIV/0!
RTU-8 | SALES | 4455 |  | 4455 | 0 | 0 |  | 0% | #DIV/0!
RTU-9 | SALES | 3930 |  | 3930 | 0 | 0 |  | 0% | #DIV/0!
RTU-10 | PHARMACY | 2300 |  | 1750 | 0 | 550 |  | 23.91% | #DIV/0!
RTU-11 | DELI | 2095 |  | 2008 | 0 | 87 |  | 4.153% | #DIV/0!
RTU-12 | BAKERY | 1620 |  | 1539 | 0 | 81 |  | 5% | #DIV/0!
RTU-13 | BACKROOM | 2065 |  | 1885 | 0 | 180 |  | 8.717% | #DIV/0!
RTU-14 | BACKROOM | 1925 |  | 1667 | 0 | 258 |  | 13.4% | #DIV/0!
RTU-15 | DOCK | 3060 |  | 2203 | 0 | 857 |  | 28.01% | #DIV/0!
RTU-16 | BACK OFFICES | 2345 |  | 1672 | 0 | 673 |  | 28.7% | #DIV/0!
RTU-17 | PICKUP | 3205 |  | 2739 | 0 | 466 |  | 14.54% | #DIV/0!
RTU-18 | VESTIBULE | 3320 |  | 3174 | 0 | 146 |  | 4.398% | #DIV/0!
RTU-19 | VESTIBULE | 3320 |  | 3174 | 0 | 146 |  | 4.398% | #DIV/0!
DOAS-1 | SALES | 4600 |  | 0 | 0 | 4600 |  | 100% | #DIV/0!
DOAS-2 | SALES | 4600 |  | 0 | 0 | 4600 |  | 100% | #DIV/0!
EF-1 | CUSTOMER RRS | [12 empty] | 700
EF-2 | TLC | [12 empty] | 200
EF-3 | EMPLOYEE RRS | [12 empty] | 500
EF-8 | CLEANING CENTER | [12 empty] | 200
EF-5 | FRONT ELECTRICAL | [12 empty] | 500
EF-6 | ELECTRICAL | [12 empty] | 400
EF-7 | SEAFOOD | [12 empty] | 700
EF-4 | DELI HOOD | [10 empty] | 2400
EF-9 | BAKERY OVEN | [10 empty] | 600
EF-10 | BAKERY OVEN | [10 empty] | 600
TOTALS |  | 74920 | 0 | 62276 | 0 | 12644 | 0 |  |  | 0 | 0 | 3600 | 0 | 3200 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | TRUE | FALSE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  | 12644 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  | 6800 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | 5844 | 0 |  | REAR | [10 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0