## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
RTU-1 | Kitchen | 5000 |  | 4500 | 0 | 500 |  | 10% | #DIV/0!
RTU-2 | Dining Room | 3400 |  | 2550 | 0 | 850 |  | 25% | #DIV/0!
ACU | Manager's Office | 350 |  | 335 | 0 | 15 |  | 4.286% | #DIV/0!
MUA-1 | Cook Line | [8 empty] | 2250
EF-1 | Kitchen | [10 empty] | 1430
EF-2 | Kitchen | [10 empty] | 1630
EF-3 | Restroom | [12 empty] | 350
TOTALS |  | 8750 | 0 | 7385 | 0 | 1365 | 0 |  |  | 2250 | 0 | 3060 | 0 | 350 | 0 | =
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS | [5 empty] | TRUE | FALSE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  | 3615 | 0 |  | FRONT | [11 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  | 3410 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | 205 | 0 |  | REAR | [11 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
KITCHEN PRESSURIZATION (MUST BE NEGATIVE)
TOTALS |  | DESIGN | ACTUAL
TOTAL KITCHEN OA |  | 3615
TOTAL KITCHEN EXHAUST |  | 0
NET AIRFLOW |  | 3615 | 0
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | Titus | [13 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0