## SUMMARY (2)
AIR BALANCE SCHEDULE
| HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
RTU-1 |  |  | -850 | 0 | 850 |  | #DIV/0! | #DIV/0!
RTU-2 |  |  | -1250 | 0 | 1250 |  | #DIV/0! | #DIV/0!
MUA-1 | [8 empty] | 7720
EF-1 | [10 empty] | 4350
EF-2 | [10 empty] | 4300
EF-3 | [10 empty] | 1000
EF-4 | [12 empty] | 75
EF-5 | [12 empty] | 75
TOTALS | 0 | 0 | -2100 | 0 | 2100 | 0 |  |  | 7720 | 0 | 9650 | 0 | 150 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | TRUE | FALSE | FALSE
TOTALS | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA | 9820 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST | 9800 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW | 20 | 0 |  | REAR | [10 empty] | #DIV/0!
|  |  |  | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [13 empty] | 0
HD | [13 empty] | 0
HD | [13 empty] | 0
HD | [13 empty] | 0
HD | [13 empty] | 0
HD | [13 empty] | 0
HD | [13 empty] | 0
HD | [13 empty] | 0
HD | [13 empty] | 0