## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HOOD ON OA |  | HOOD OFF OA |  | HOOD ON EXHAUST |  | HOOD OFF EXHAUST
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
RTU 1 | SALES | 700 |  | 700
RTU-2 | SALES | 1350 |  | 0
EF-1 | RESTROOMS |  |  |  |  | 250 |  | 250
EF-2 | KITCHEN HD |  |  |  |  | 1350 |  | 0
EF-3 | COMBI-OVEN |  |  |  |  | 150 |  | 150
TOTALS |  | 2050 | 0 | 700 | 0 | 1750 | 0 | 400 | 0
HOODS ON
NET AIRFLOW CALCULATION | [5 empty] | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  | TRUE | FALSE | FALSE
TOTALS |  | DESIGN | ACTUAL
TOTAL OA |  | 2050 | 0 |  |  | FRONT |  |  |  | TRUE | FALSE | FALSE
TOTAL EXHAUST |  | 1750 | 0 |  |  | SIDE
NET AIRFLOW |  | 300 | 0 |  |  | REAR |  |  |  | FALSE
AVERAGE
HOODS OFF
NET AIRFLOW CALCULATION | [5 empty] | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20)
TOTALS |  | DESIGN | ACTUAL
TOTAL OA |  | 700 | 0 |  |  | FRONT
TOTAL EXHAUST |  | 400 | 0 |  |  | SIDE
NET AIRFLOW |  | 300 | 0 |  |  | REAR
AVERAGE
NOTES: