## RTU-1
National TAB
Project: Enterprise Rent-A-Car
Address: 9015 Fields Ertel Cincinnati, OH
Asset: RTU-1 (EXISTING)
Unit Data | Test Data
Manufacturer |  | Design | Actual
Model Num | SF CFM | 2400
Serial Num | SF RPM
Configuration | RA CFM | 2160
Num OA Filters | OA CFM | 240
OA Filter Size | RL VOLTAGE
Num Final Filter | RL AMPERAGE
Final Filter Size | OA Damper Position
Brake Horsepower
Motor Data | Performance Data
Motor MFG |  | Design | Actual
Frame | Fan Suction SP
Horsepower | Fan Discharge SP
Motor RPM | Fan Total SP
Phase | DX Coil PD * |  | *
Rated Voltage | Pre Filter PD |  | *combined
Rated Amperage | Total ESP
Service Factor
Drive Data
Motor Sheave Size / Bore
Fan Sheave Size / Bore
Belt CL Distance
No. Belts / Size

## RTU-1 SGRD
National TAB
Project: Enterprise Rent-A-Car
Address: 9015 Fields Ertel Cincinnati, OH
Asset: SUPPLY
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
1-1 | 105 | SR | 28X4 | 100 |  |  | 0
1-2 | 105 | CD-8 | 8 | 125 |  |  | 0
1-3 | 100 | CD-10 | 10 | 350 |  |  | 0
1-4 | RENTAL CTR | CD-10 | 10 | 325 |  |  | 0
1-5 | RENTAL CTR | CD-10 | 10 | 325 |  |  | 0
1-6 | 105 | SR | 28X4 | 150 |  |  | 0
1-7 | 105 | SR | 28X4 | 150 |  |  | 0
1-8 | 101 | CD-6 | 6 | 50 |  |  | 0
1-9 | 108 | SR | 8X4 | 50 |  |  | 0
1-10 | 103 | SR | 28X4 | 150 |  |  | 0
1-11 | 106 | CD-8 | 8 | 150 |  |  | 0
1-12 | 103 | SR | 28X4 | 125 |  |  | 0
1-13 | HALL | CD-6 | 6 | 100 |  |  | 0
1-14 | 104 | SR | 28X4 | 100 |  |  | 0
1-15 | 106 | CD-8 | 8 | 150 |  |  | 0
|  |  |  | 2400 |  | 0 | 0

## EF-1
National TAB
Project: Enterprise Rent-A-Car
Address: 9015 Fields Ertel Cincinnati, OH
Asset: EF-1 |  | Area: 101
Unit Data |  |  | Test Data
MFG | S&P USA |  |  | Design | Actual
Model Num | PC110XP |  | CFM | 89
Serial Num |  |  | Fan RPM | 930
Type | CEILING |  | RL Voltage | 120
|  |  | RL Amperage | 0.35
Motor Data |  |  | Suction ESP
Motor MFG |  |  | Total ESP | 0.25
Frame
Horsepower | 0.04
Motor Rpm
Phase | 1
Voltage (rated) | 115
Amperage (rated) | 0.35
Service Factor
-

## EF-2
National TAB
Project: Enterprise Rent-A-Car
Address: 9015 Fields Ertel Cincinnati, OH
Asset: EF-2 |  | Area: 107
Unit Data |  |  | Test Data
MFG | S&P USA |  |  | Design | Actual
Model Num | SDBDe8 |  | CFM | 600
Serial Num |  |  | Fan RPM | 1654
Type | CRE DNBLAST |  | RL Voltage | 115
RL Amperage
Motor Data |  |  | Suction ESP
Motor MFG |  |  | Total ESP | 0.5
Frame
Horsepower | 0.333
Motor Rpm | 1750
Phase | 1
Voltage (rated) | 115
Amperage (rated)
Service Factor
-

## MAU-1
National TAB
Project: Enterprise Rent-A-Car
Address: 9015 Fields Ertel Cincinnati, OH
Asset: MAU-1 |  | Area: 107
Unit Data |  |  | Test Data
MFG | CAPTIVEAIRE |  |  | Design | Actual
Model Num | R76 |  | CFM | 600
Serial Num |  |  | SF RPM | 1392
Type |  |  | RL Voltage | 115
Configuration | VERTICAL |  | RL Amperage | 11.6
No. Filters / Size |  |  | Suction ESP
Discharge ESP
|  |  | Total ESP | 0.5
Motor Data |  |  | Brake Horse Power | 0.2
Motor MFG
Frame
Horsepower | 1
Motor Rpm
Phase | 1
Voltage (rated) | 115
Amperage (rated) | 11.6
Service Factor