## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
EX-FCU1 | MAIN BUILDING | 1255 |  | 1055 | 0 | 200 |  | 15.94% | #DIV/0!
EX-FCU2 | EXAM RMS, OFFICES | 2140 |  | 1890 | 0 | 250 |  | 11.68% | #DIV/0!
EX-FCU3 | MAIN BUILDING | 1810 |  | 1400 | 0 | 410 |  | 22.65% | #DIV/0!
RTU-1 | ADDITION | 1760 |  | 1085 | 0 | 675 |  | 38.35% | #DIV/0!
EF-1 | RESTROOM | [12 empty] | 75
EF-2 | ADDITION | [12 empty] | 365
EF-3 | SURGERY | [12 empty] | 275
EF-4 | CAT WARD | [12 empty] | 100
EF-5 | RESTROOM | [12 empty] | 75
EF-6 | DENTAL | [12 empty] | 175
EF-7 | TREATMENT | [12 empty] | 275
TOTALS |  | 6965 | 0 | 5430 | 0 | 1535 | 0 |  |  | 0 | 0 | 0 | 0 | 1340 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | TRUE | FALSE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  | 1535 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  | 1340 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | 195 | 0 |  | REAR | [10 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0