## Sheet1
Equipment | Pages in Report | Location | Issue | Maintenance | Remodel | Notes
EF-CC1 | 5, 53 | Cleaning area | Exhaust fan CC1 serving the cleaning area is not running. Fan has no power.
EF-G1 | 6, 56 | Left Bakery oven | Not running. No power
EF-H1 | 7, 58 | Hood 1 (Deli) | Belt needs replacement
EF-H3 | 8, 60 | Hood 3 | Exhaust fan is abandoned. Hood 3 does not exist.
EF-H4 | 9, 61 | Hood 4 | Hood in the seafood area is not being used. Fan has no power.
EF-H5 | 10, 62 | Hood 5 | Hood in the seafood area does not exist. Fan has no power.
EF-J | 11, 63 | N/A | The fan has no power and is not in use. Previous jewelry area
RTU-6 | 12, 36 | Sales | Not running
RTU-10 | 13, 40 | Sales | Not running
RTU-14 | 14, 44 | Future clinic | Not running
RTU-15 | 15, 45 | Jewelry | Not running. VFD has an error code
RTU-8 | 16, 38 | Sales | Not running
RTU-11 / RTU-23 | 17, 41 | Sales/Pickup | Two units labeled as RTU-11. The unit serving the pick up area will be relabeled as RTU-23.