## RTU-1
National TAB
Project: Urgent Vet (Matthews, NC)
Address: 1915 Matthews Township Pkwy Unt 1200
Asset: RTU-1 |  | Area: 109B
Unit Data |  |  | Test Data
| Design | Actual |  | Design | Actual
Manufacturer | TRANE |  | SF CFM | 3025
Model Num | YSC092E3 |  | SF RPM
Serial Num |  |  | RA CFM | 2335
Configuration | VERTICAL |  | OA CFM | 690
Num OA Filters |  |  | RL VOLTAGE | 208
OA Filter Size |  |  | RL AMPERAGE
Num PreFilter |  |  | OA Damper Position
PreFilter Size |  |  | Brake Horsepower
Motor Data |  |  | Performance Data
| Design | Actual |  | Design | Actual
Motor MFG |  |  | Mixed Air SP
Frame |  |  | Fan Suction SP
Horsepower |  |  | Fan Discharge SP
Motor RPM |  |  | Fan Total SP
Phase | 3 |  | CX Coil PD
Rated Voltage | 208 |  | Pre Filter PD
Rated Amperage |  |  | Total ESP | 1
Service Factor
Drive Data
| Design | Actual
Motor Sheave Size / Bore
Fan Sheave Size / Bore
Belt CL Distance
No. Belts / Size
Powered by FaciliBuild!
Date: 1/19/2016 Page 1 of 9 www.facilibuild.com

## RTU-1 GRD
National TAB
Project: Urgent Vet (Matthews, NC)
Address: 1915 Matthews Township Pkwy Unt 1200
Asset: RTU-1 EGRD's
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
R1-1 | 109B | RG-1 |  | 585 |  |  | 0
R1-2 | 109B | RG-1 |  | 580 |  |  | 0
R1-3 | 106 | RG-2 | 10 | 300 |  |  | 0
R1-4 | 111 | RG-2 | 8 | 210 |  |  | 0
R1-5 | HALL | RG-2 | 8 | 250 |  |  | 0
R1-6 | 107 | RG-2 |  | 300 |  |  | 0
R1-7 | 108 | RG-2 |  | 315 |  |  | 0
EGRD's |  |  |  | 2540 |  | 0 | 0
Asset: RTU-1 SGRD's
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
1-1 | 109B | CD-1 | 8 | 250 |  |  | 0
1-2 | 109B | CD-1 | 8 | 225 |  |  | 0
1-3 | 109B | CD-1 | 8 | 225 |  |  | 0
1-4 | 109A | CD-1 |  | 275 |  |  | 0
1-5 | 109C | CD-1 | 8 | 225 |  |  | 0
1-6 | 109C | CD-1 | 8 | 225 |  |  | 0
1-7 | 106 | CD-1 | 8 | 350 |  |  | 0
1-8 | 111 | CD-1 | 8 | 250 |  |  | 0
1-9 | 107 | CD-1 | 10 | 350 |  |  | 0
1-10 | 110 | CD-1 | 8 | 125 |  |  | 0
1-11 | 110 | CD-1 | 8 | 150 |  |  | 0
1-12 | 108 | CD-1 | 10 | 375 |  |  | 0
SGRD's |  |  |  | 3025 |  | 0 | 0

## RTU-2
National TAB
Project: Urgent Vet (Matthews, NC)
Address: 1915 Matthews Township Pkwy Unt 1200
Asset: RTU-2 |  | Area: 100A
Unit Data |  |  | Test Data
| Design | Actual |  | Design | Actual
Manufacturer | TRANE |  | SF CFM | 2400
Model Num | YSJ072A3S0M |  | SF RPM
Serial Num |  |  | RA CFM | 1850
Configuration | VERTICAL |  | OA CFM | 550
Num OA Filters |  |  | RL VOLTAGE | 208
OA Filter Size |  |  | RL AMPERAGE
Num PreFilter |  |  | OA Damper Position
PreFilter Size |  |  | Brake Horsepower | 3.1
Motor Data |  |  | Performance Data
| Design | Actual |  | Design | Actual
Motor MFG |  |  | Mixed Air SP
Frame |  |  | Fan Suction SP
Horsepower |  |  | Fan Discharge SP
Motor RPM |  |  | Fan Total SP
Phase | 3 |  | CX Coil PD
Rated Voltage | 208 |  | Pre Filter PD
Rated Amperage |  |  | Total ESP | 1.16
Service Factor
Drive Data
| Design | Actual
Motor Sheave Size / Bore
Fan Sheave Size / Bore
Belt CL Distance
No. Belts / Size
Powered by FaciliBuild!
Date: 1/19/2016 Page 1 of 9 www.facilibuild.com

## RTU-2 GRD
National TAB
Project: Urgent Vet (Matthews, NC)
Address: 1915 Matthews Township Pkwy Unt 1200
Asset: RTU-2 EGRD's
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
R2-1 | 101 | RG-2 | 10 | 310 |  |  | 0
R2-2 | 100A | RG-3 | 18X16 | 850 |  |  | 0
R2-3 | 104 | RG-2 | 10 | 310 |  |  | 0
R2-4 | 105 | RG-2 | 10 | 310 |  |  | 0
EGRD's |  |  |  | 1780 |  | 0 | 0
Asset: RTU-2 SGRD's
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
2-1 | 103 | CD-2 | 6 | 50 |  |  | 0
2-2 | 101 | CD-1 | 10 | 400 |  |  | 0
2-3 | 100 | SR-1 | 12X6 | 400 |  |  | 0
2-4 | 102 | CD-2 |  | 50 |  |  | 0
2-5 | 100A | SR-1 | 12X6 | 400 |  |  | 0
2-6 | 104 | CD-1 | 10 | 400 |  |  | 0
2-7 | 105 | CD-1 | 10 | 400 |  |  | 0
2-8 | 100A | SR-1 | 12X6 | 300 |  |  | 0
SGRD's |  |  |  | 2400 |  | 0 | 0

## E101
National TAB
Project: Urgent Vet (Matthews, NC)
Address: 1915 Matthews Township Pkwy Unt 1200
Asset: E101 |  |  | Area: 101
Unit Data |  |  |  |  | Test Data
MFG |  | COOK |  |  |  | Design | Actual
Model Num |  | GNVF-340 |  |  | CFM | 100
Serial Num |  |  |  |  | Fan RPM
Type |  | INLINE |  |  | RL Voltage | 120
RL Amperage
Motor Data |  |  |  |  | Suction ESP
Motor MFG |  |  |  |  | Total ESP | 0.375
Frame
Horsepower |  | 41W
Motor Rpm
Phase |  | 1
Voltage (rated) |  | 120
Amperage (rated)
Service Factor
Asset | Area Served | Type | Size | DESIGN | CFM(1) | FINAL CFM | % to design
E101-1 | 101 | EG-1 | 6 | 100 |  |  | 0
|  |  |  | 100 |  | 0 | 0
-

## E102
National TAB
Project: Urgent Vet (Matthews, NC)
Address: 1915 Matthews Township Pkwy Unt 1200
Asset: E102 |  |  | Area: 102
Unit Data |  |  |  |  | Test Data
MFG |  | COOK |  |  |  | Design | Actual
Model Num |  | GNVF-340 |  |  | CFM | 70
Serial Num |  |  |  |  | Fan RPM
Type |  | INLINE |  |  | RL Voltage | 120
RL Amperage
Motor Data |  |  |  |  | Suction ESP
Motor MFG |  |  |  |  | Total ESP | 0.375
Frame
Horsepower |  | 41W
Motor Rpm
Phase |  | 1
Voltage (rated) |  | 120
Amperage (rated)
Service Factor
Asset | Area Served | Type | Size | DESIGN | CFM(1) | FINAL CFM | % to design
E102-1 | 102 | EG-2 | 6 | 70 |  |  | 0
|  |  |  | 70 |  | 0 | 0
-

## E103
National TAB
Project: Urgent Vet (Matthews, NC)
Address: 1915 Matthews Township Pkwy Unt 1200
Asset: E103 |  |  | Area: 103
Unit Data |  |  |  |  | Test Data
MFG |  | COOK |  |  |  | Design | Actual
Model Num |  | GNVF-340 |  |  | CFM | 70
Serial Num |  |  |  |  | Fan RPM
Type |  | INLINE |  |  | RL Voltage | 120
RL Amperage
Motor Data |  |  |  |  | Suction ESP
Motor MFG |  |  |  |  | Total ESP | 0.375
Frame
Horsepower |  | 41W
Motor Rpm
Phase |  | 1
Voltage (rated) |  | 120
Amperage (rated)
Service Factor
Asset | Area Served | Type | Size | DESIGN | CFM(1) | FINAL CFM | % to design
E103-1 | 103 | EG-2 | 6 | 70 |  |  | 0
|  |  |  | 70 |  | 0 | 0
-

## E104
National TAB
Project: Urgent Vet (Matthews, NC)
Address: 1915 Matthews Township Pkwy Unt 1200
Asset: E104 |  |  | Area: 104
Unit Data |  |  |  |  | Test Data
MFG |  | COOK |  |  |  | Design | Actual
Model Num |  | GNVF-340 |  |  | CFM | 100
Serial Num |  |  |  |  | Fan RPM
Type |  | INLINE |  |  | RL Voltage | 120
RL Amperage
Motor Data |  |  |  |  | Suction ESP
Motor MFG |  |  |  |  | Total ESP | 0.375
Frame
Horsepower |  | 41W
Motor Rpm
Phase |  | 1
Voltage (rated) |  | 120
Amperage (rated)
Service Factor
Asset | Area Served | Type | Size | DESIGN | CFM(1) | FINAL CFM | % to design
E104-1 | 104 | EG-1 | 6 | 100 |  |  | 0
|  |  |  | 100 |  | 0 | 0
-

## E105
National TAB
Project: Urgent Vet (Matthews, NC)
Address: 1915 Matthews Township Pkwy Unt 1200
Asset: E105 |  |  | Area: 105
Unit Data |  |  |  |  | Test Data
MFG |  | COOK |  |  |  | Design | Actual
Model Num |  | GNVF-340 |  |  | CFM | 100
Serial Num |  |  |  |  | Fan RPM
Type |  | INLINE |  |  | RL Voltage | 120
RL Amperage
Motor Data |  |  |  |  | Suction ESP
Motor MFG |  |  |  |  | Total ESP | 0.375
Frame
Horsepower |  | 41W
Motor Rpm
Phase |  | 1
Voltage (rated) |  | 120
Amperage (rated)
Service Factor
Asset | Area Served | Type | Size | DESIGN | CFM(1) | FINAL CFM | % to design
E105-1 | 105 | EG-1 | 6 | 100 |  |  | 0
|  |  |  | 100 |  | 0 | 0
-

## E106
National TAB
Project: Urgent Vet (Matthews, NC)
Address: 1915 Matthews Township Pkwy Unt 1200
Asset: E106 |  |  | Area: 106
Unit Data |  |  |  |  | Test Data
MFG |  | COOK |  |  |  | Design | Actual
Model Num |  | GNVF-340 |  |  | CFM | 100
Serial Num |  |  |  |  | Fan RPM
Type |  | INLINE |  |  | RL Voltage | 120
RL Amperage
Motor Data |  |  |  |  | Suction ESP
Motor MFG |  |  |  |  | Total ESP | 0.375
Frame
Horsepower |  | 41W
Motor Rpm
Phase |  | 1
Voltage (rated) |  | 120
Amperage (rated)
Service Factor
Asset | Area Served | Type | Size | DESIGN | CFM(1) | FINAL CFM | % to design
E106-1 | 106 | EG-1 | 6 | 100 |  |  | 0
|  |  |  | 100 |  | 0 | 0
-

## E107
National TAB
Project: Urgent Vet (Matthews, NC)
Address: 1915 Matthews Township Pkwy Unt 1200
Asset: E107 |  |  | Area: 107
Unit Data |  |  |  |  | Test Data
MFG |  | COOK |  |  |  | Design | Actual
Model Num |  | GNVF-340 |  |  | CFM | 100
Serial Num |  |  |  |  | Fan RPM
Type |  | INLINE |  |  | RL Voltage | 120
RL Amperage
Motor Data |  |  |  |  | Suction ESP
Motor MFG |  |  |  |  | Total ESP | 0.375
Frame
Horsepower |  | 41W
Motor Rpm
Phase |  | 1
Voltage (rated) |  | 120
Amperage (rated)
Service Factor
Asset | Area Served | Type | Size | DESIGN | CFM(1) | FINAL CFM | % to design
E107-1 | 107 | EG-1 | 6 | 100 |  |  | 0
|  |  |  | 100 |  | 0 | 0
-

## E108
National TAB
Project: Urgent Vet (Matthews, NC)
Address: 1915 Matthews Township Pkwy Unt 1200
Asset: E108 |  |  | Area: 108
Unit Data |  |  |  |  | Test Data
MFG |  | COOK |  |  |  | Design | Actual
Model Num |  | GNVF-340 |  |  | CFM | 100
Serial Num |  |  |  |  | Fan RPM
Type |  | INLINE |  |  | RL Voltage | 120
RL Amperage
Motor Data |  |  |  |  | Suction ESP
Motor MFG |  |  |  |  | Total ESP | 0.375
Frame
Horsepower |  | 41W
Motor Rpm
Phase |  | 1
Voltage (rated) |  | 120
Amperage (rated)
Service Factor
Asset | Area Served | Type | Size | DESIGN | CFM(1) | FINAL CFM | % to design
E108-1 | 108 | EG-1 | 6 | 100 |  |  | 0
|  |  |  | 100 |  | 0 | 0
-

## E109
National TAB
Project: Urgent Vet (Matthews, NC)
Address: 1915 Matthews Township Pkwy Unt 1200
Asset: E109 |  |  | Area: 109
Unit Data |  |  |  |  | Test Data
MFG |  | COOK |  |  |  | Design | Actual
Model Num |  | GNVF-340 |  |  | CFM | 150
Serial Num |  |  |  |  | Fan RPM
Type |  | INLINE |  |  | RL Voltage | 120
RL Amperage
Motor Data |  |  |  |  | Suction ESP
Motor MFG |  |  |  |  | Total ESP | 0.375
Frame
Horsepower |  | 41W
Motor Rpm
Phase |  | 1
Voltage (rated) |  | 120
Amperage (rated)
Service Factor
Asset | Area Served | Type | Size | DESIGN | CFM(1) | FINAL CFM | % to design
E109-1 | 109 | EG-1 | 6 | 150 |  |  | 0
|  |  |  | 150 |  | 0 | 0
-

## E110
National TAB
Project: Urgent Vet (Matthews, NC)
Address: 1915 Matthews Township Pkwy Unt 1200
Asset: E110 |  |  | Area: 110
Unit Data |  |  |  |  | Test Data
MFG |  | COOK |  |  |  | Design | Actual
Model Num |  | GNVF-340 |  |  | CFM | 150
Serial Num |  |  |  |  | Fan RPM
Type |  | INLINE |  |  | RL Voltage | 120
RL Amperage
Motor Data |  |  |  |  | Suction ESP
Motor MFG |  |  |  |  | Total ESP | 0.375
Frame
Horsepower |  | 41W
Motor Rpm
Phase |  | 1
Voltage (rated) |  | 120
Amperage (rated)
Service Factor
Asset | Area Served | Type | Size | DESIGN | CFM(1) | FINAL CFM | % to design
E110-1 | 110 | EG-1 | 6 | 150 |  |  | 0
|  |  |  | 150 |  | 0 | 0
-