## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
RTU-1 | BOH | 5000 |  | 4060 | 0 | 940 |  | 18.8% | #DIV/0!
RTU-2 | SALES | 4000 |  | 3300 | 0 | 700 |  | 17.5% | #DIV/0!
RTU-3 | FOH | 2000 |  | 1600 | 0 | 400 |  | 20% | #DIV/0!
RTU-4 | SEATING | 2000 |  | 1600 | 0 | 400 |  | 20% | #DIV/0!
EF-1 | RESTROOMS | [12 empty] | 1500
EF-2 | BOH | [12 empty] | 400
EF-3 | TRASH RM | [12 empty] | 200
TOTALS |  | 13000 | 0 | 10560 | 0 | 2440 | 0 |  |  | 0 | 0 | 0 | 0 | 2100 | 0 | TRUE | FALSE | FALSE
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | #DIV/0! | #DIV/0! | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  | 2440 | 0 |  | FRONT | [10 empty] | #DIV/0!
TOTAL EXHAUST |  | 2100 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | 340 | 0 |  | REAR
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0