## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HOOD ON OA |  | HOOD OFF OA |  | HOOD ON EXHAUST |  | HOOD OFF EXHAUST
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
RTU 1 | SALES | 800 |  | 350
RTU-2 | SALES | 800 |  | 350
RTU-3 | BOH/KITCHEN | 800 |  | 350
EF-1 | WOMEN'S RR |  |  |  |  | 225 |  | 225
EF-2 | MEN'S RR |  |  |  |  | 375 |  | 375
EF-3 | HOOD |  |  |  |  | 1350 |  | 0
EF-4 | COMBI-OVEN |  |  |  |  | 150 |  | 150
TOTALS |  | 2400 | 0 | 1050 | 0 | 2100 | 0 | 750 | 0
HOODS ON
[10 empty] | TRUE | FALSE | FALSE
NET AIRFLOW CALCULATION | [5 empty] | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20)
TOTALS |  | DESIGN | ACTUAL | [6 empty] | TRUE | FALSE | FALSE
TOTAL OA |  | 2400 | 0 |  |  | FRONT
TOTAL EXHAUST |  | 2100 | 0 |  |  | SIDE |  |  |  | FALSE
NET AIRFLOW |  | 300 | 0 |  |  | REAR
AVERAGE
HOODS OFF
NET AIRFLOW CALCULATION | [5 empty] | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20)
TOTALS |  | DESIGN | ACTUAL
TOTAL OA |  | 1050 | 0 |  |  | FRONT
TOTAL EXHAUST |  | 750 | 0 |  |  | SIDE
NET AIRFLOW |  | 300 | 0 |  |  | REAR
AVERAGE
NOTES: