## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
VAV-1 | BOH | 2000 | 2079 | 0 | #VALUE! | 500 | na | 25% | #VALUE!
VAV-2 | KITCHEN | 2000 | 1991 | 0 | #VALUE! | 500 | na | 25% | #VALUE!
VAV-3 | KITCHEN | 2000 | 2039 | 0 | #VALUE! | 500 | na | 25% | #VALUE!
VAV-4 | DINING | 800 | 823 | 0 | #VALUE! | 200 | na | 25% | #VALUE!
KEF-1 | KITCHEN GRILL | [10 empty] | 1200 | 1273
KEF-2 | KITCHEN FRYER | [10 empty] | 860 | 848
EF-3 | KITCHEN DISH | [10 empty] | 675 | 685
TOTALS |  | 6800 | 6932 | 0 | #VALUE! | 1700 | 0 |  |  | 0 | 0 | 2735 | 2806 | 0 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | TRUE | TRUE | TRUE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  | 1700 | 0 |  | FRONT |  | na | [8 empty] | #DIV/0! | #DIV/0! | TRUE
TOTAL EXHAUST |  | 2735 | 2806 |  | SIDE |  | na |  |  |  | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | -1035 | -2806 |  | REAR |  | na | [8 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
KITCHEN PRESSURIZATION (MUST BE NEGATIVE)
TOTALS |  | DESIGN | ACTUAL
TOTAL KITCHEN OA |  | 0 | na
TOTAL KITCHEN EXHAUST |  | 0 | 2806
NET AIRFLOW |  | 0 | #VALUE!
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0