## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
FC-1.1 | DINING | 1177 |  | 777 | 0 | 400 |  | 33.98% | #DIV/0!
FC-1.2 | DINING | 1177 |  | 777 | 0 | 400 |  | 33.98% | #DIV/0!
FC-2.1 | BACK OF HOUSE | 1130 |  | 1030 | 0 | 100 |  | 8.85% | #DIV/0!
FC-2.2 | BACK OF HOUSE | 1130 |  | 1030 | 0 | 100 |  | 8.85% | #DIV/0!
FC-2.3 | BACK OF HOUSE | 1130 |  | 1030 | 0 | 100 |  | 8.85% | #DIV/0!
MUA-1 | COOKLINE | [8 empty] | 2508
ESP-1 | KITCHEN HOODS | [10 empty] | 2742
EF-1 | RESTROOMS | [12 empty] | 300
TOTALS |  | 5744 | 0 | 4644 | 0 | 1100 | 0 |  |  | 2508 | 0 | 2742 | 0 | 300 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | TRUE | FALSE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  | 3608 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  | 3042 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | 566 | 0 |  | REAR | [10 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
KITCHEN PRESSURIZATION (MUST BE NEGATIVE)
TOTALS |  | DESIGN | ACTUAL
TOTAL KITCHEN OA |  | 2808 | 0
TOTAL KITCHEN EXHAUST |  | 2742 | 0
NET AIRFLOW |  | 66 | 0
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0