## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
FCU-1 | WAREWASH | 1100 |  | 940 | 0 | 160 |  | 14.55% | #DIV/0!
FCU-2.1 | DINING | 800 |  | 590 | 0 | 210 |  | 26.25% | #DIV/0!
FCU-2.2 | DINING | 800 |  | 590 | 0 | 210 |  | 26.25% | #DIV/0!
FCU-E | BOH KITCHEN | 2700 |  | 2280 | 0 | 420 |  | 15.56% | #DIV/0!
EF-1 | RESTROOMS | [12 empty] | 150
EF-E | KITCHEN/BOH | [12 empty] | 690
TOTALS |  | 5400 | 0 | 4400 | 0 | 1000 | 0 |  |  | 0 | 0 | 0 | 0 | 840 | 0 | TRUE | FALSE | FALSE
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | #DIV/0! | #DIV/0! | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  | 1000 | 0 |  | FRONT | [10 empty] | #DIV/0!
TOTAL EXHAUST |  | 840 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | 160 | 0 |  | REAR
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0