## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
RTU-1 | MAIN SALES FLOOR | 19947 |  | 14614 | 0 | 5333 |  | 26.74% | #DIV/0!
RTU-2 | MAIN SALES FLOOR | 17768 |  | 11673 | 0 | 6095 |  | 0.34303 | #DIV/0!
RTU-3 | CUSTOMER SERVICE | 786 |  | 786 | 0 | 0 |  | 0 | #DIV/0!
RTU-4 | MANAGERS OFFICE | 1412 |  | #VALUE! | 0 | N/A |  | #VALUE! | #DIV/0!
RTU-5 | PHARMACY | 996 |  | #VALUE! | 0 | N/A |  | #VALUE! | #DIV/0!
MAU-1 | KITCHEN HD 1 | [8 empty] | _
MAU-2 | KITCHEN HD 2 | [8 empty] | _
KEF-1 | KITCHEN HD 1 | [10 empty] | _
KEF-2 | KITCHEN HD 2 | [10 empty] | _
KEF-3 | KITCHEN HD 3 | [10 empty] | _
EF-1 | SEAFOOD | [12 empty] | 873
EF-2 | PUBLIC RR | [12 empty] | 360
EF-3 | EMPLOYEE RR | [12 empty] | 0
TOTALS |  | 40909 | 0 | #VALUE! | 0 | 11428 | 0 |  |  | 0 | 0 | 0 | 0 | 1233 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | TRUE | FALSE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  | 11428 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  | 1233 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | 10195 | 0 |  | REAR | [10 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0