## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
RTU 1 | REAR MAIN SALES FLOOR | 13000 |  | 10400 | 0 | 2600 |  | 20% | #DIV/0!
RTU-2 | FRONT MAIN SALES FLOOR | 13000 |  | 10600 | 0 | 2400 |  | 18.46% | #DIV/0!
RTU-3 | DELI/BAKERY | 2625 |  | 2625 | 0 | 0 |  | 0% | #DIV/0!
RTU-4 | CART CORRAL | 3250 |  | 2600 | 0 | 650 |  | 20% | #DIV/0!
RTU-5 | DOCK | 2625 |  | 2100 | 0 | 525 |  | 20% | #DIV/0!
MUA-1 | KITCHEN | [8 empty] | 840
EF-1E | DELI HOOD | [10 empty] | 2462
EF-2E | RIGHT BAKERY OVEN | [10 empty] | 600
EF-3E | LEFT BAKERY OVEN | [10 empty] | 600
EF-4E | DEI HOOD | [10 empty] | 1050
EF-5E | EMPLOYEE RR | [12 empty] | 180
EF-6E | CUSTOMER RR | [12 empty] | 500
TOTALS |  | 34500 | 0 | 28325 | 0 | 6175 | 0 |  |  | 840 | 0 | 4712 | 0 | 680 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | TRUE | FALSE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  | 7015 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  | 5392 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | 1623 | 0 |  | REAR | [10 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0