## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
RTU-1 | DINING | 5000 |  | 3500 | 0 | 1500 |  | 30% | #DIV/0!
RTU-2 | DINING | 4000 |  | 2610 | 0 | 1390 |  | 34.75% | #DIV/0!
RTU-3 | BAR DINING | 2000 |  | 1475 | 0 | 525 |  | 26.25% | #DIV/0!
RTU-4 | DINING | 2000 |  | 1235 | 0 | 765 |  | 38.25% | #DIV/0!
RTU-5 | KITCHEN | 5000 |  | 3805 | 0 | 1195 |  | 23.9% | #DIV/0!
SF-1 | KH1 / KH-4 | [8 empty] | 3700
SF-2 | KH-2/KH-5 | [8 empty] | 5500
EF-1 | KH-2 | [10 empty] | 2400
EF-2 | KH-5 | [10 empty] | 2400
EF-3 | KH-1 | [10 empty] | 3600
EF-4 | KH-4 | [10 empty] | 4350
EF-5 | KH-3 | [10 empty] | 1000
EF-6 | RESTROOMS | [12 empty] | 640
TOTALS |  | 18000 | 0 | 12625 | 0 | 5375 | 0 |  |  | 9200 | 0 | 13750 | 0 | 640 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | TRUE | FALSE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  | 14575 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  | 14390 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | 185 | 0 |  | REAR | [10 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0