## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
RTU-1 | DINING | 6150 |  | 4400 | 0 | 1750 |  | 28.46% | #DIV/0!
RTU-2 | KITCHEN | 6150 |  | 4450 | 0 | 1700 |  | 27.64% | #DIV/0!
EF-1A | MOP ROOM | [12 empty] | 75
PRV-1 | RESTROOM | [12 empty] | 375
PRV-2 | GRIDDLE HD | [10 empty] | 1500
PRV-3 | FRYER FAN | [10 empty] | 1500 |  |  |  | TRUE | FALSE | FALSE
TOTALS |  | 12300 | 0 | 8850 | 0 | 3450 | 0 |  |  | 0 | 0 | 3000 | 0 | 450 | 0
[16 empty] | #DIV/0! | #DIV/0! | FALSE
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1 | #DIV/0!
TOTAL OA |  | 3450 | 0 |  | FRONT
TOTAL EXHAUST |  | 3450 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | 0 | 0 |  | REAR
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0