## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
AHU-1 | KITCHEN | 1200 |  | 1000 | 0 | 200 |  | 16.67% | #DIV/0!
AHU-2 | DISH AREA | 1200 |  | 1200 | 0 |  |  | 0% | #DIV/0!
AHU-3 | BAR AREA | 1200 |  | 1200 | 0 |  |  | 0% | #DIV/0!
AHU-4 | PATIO AREA | 1200 |  | 1000 | 0 | 200 |  | 16.67% | #DIV/0!
AHU-5 | UTILITY | 600 |  | 500 | 0 | 100 |  | 16.67% | #DIV/0!
DOAS-AHU-1 | KITCHEN | 5000 |  | 5000 | 0 |  |  | 0% | #DIV/0!
DOAS-AHU-2 | DINING | 5000 |  | 5000 | 0 |  |  | 0% | #DIV/0!
KEF-1 | MAIN L HOOD | [10 empty] | 2100
KEF-2 | MAIN R HOOD | [10 empty] | 2100
KEF-3 | GRILL | [10 empty] | 2500
KEF-4 | PREP | [10 empty] | 2250
KEF-5 | DISH AREA | [10 empty] | 800
TEF-1 | RESTROOMS | [12 empty] | 500
TOTALS |  | 15400 | 0 | 14900 | 0 | 500 | 0 |  |  | 0 | 0 | 9750 | 0 | 500 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | FALSE | TRUE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 0
TOTAL OA |  | 500 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  | 10250 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | -9750 | 0 |  | REAR | [10 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0