## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
F-1 | WAITING | 1785 |  | 1030 | 0 | 755 |  | 42.3% | #DIV/0!
F-2 | MEZZANINE | 1300 |  | 750 | 0 | 550 |  | 42.31% | #DIV/0!
F-3 | SURG. ROOMS | 1500 |  | 865 | 0 | 635 |  | 42.33% | #DIV/0!
F-4 | ROOMS | 1250 |  | 720 | 0 | 530 |  | 42.4% | #DIV/0!
F-5 | WAITING | 1225 |  | 705 | 0 | 520 |  | 42.45% | #DIV/0!
F-6 | PREP | 750 |  | 430 | 0 | 320 |  | 42.67% | #DIV/0!
ERV-1 | FAN | 3310 |  | 3310 | 0 | 0 |  | 0% | #DIV/0! |  |  |  |  | 2900
EF-1 | 128 ISO | [12 empty] | 150
EF-2 | 126A TANK | [12 empty] | 100
TOTALS |  | 11120 | 0 | 7810 | 0 | 3310 | 0 |  |  | 0 | 0 | 0 | 0 | 3150 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | TRUE | FALSE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  | 3310 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  | 3150 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | 160 | 0 |  | REAR | [10 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0