## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
DOAS-1 | SALES | 4000 |  | 0 | 0 | 4000 |  | 100% | #DIV/0!
DOAS-2 | SALES | 4000 |  | 0 | 0 | 4000 |  | 100% | #DIV/0!
RTU-1 | SALES | 5000 |  | 5000 | 0 | 0 |  | 0% | #DIV/0!
RTU-2 | SALES | 4500 |  | 4500 | 0 | 0 |  | 0% | #DIV/0!
RTU-3 | SALES | 3970 |  | 3970 | 0 | 0 |  | 0% | #DIV/0!
RTU-4 | SALES | 4500 |  | 4500 | 0 | 0 |  | 0% | #DIV/0!
RTU-5 | SALES | 5000 |  | 5000 | 0 | 0 |  | 0% | #DIV/0!
RTU-6 | SALES | 4020 |  | 4020 | 0 | 0 |  | 0% | #DIV/0!
RTU-7 | SALES | 4200 |  | 4200 | 0 | 0 |  | 0% | #DIV/0!
RTU-8 | SALES | 4000 |  | 3000 | 0 | 1000 |  | 25% | #DIV/0!
RTU-9 | SALES | 3750 |  | 3750 | 0 | 0 |  | 0% | #DIV/0!
RTU-10 | PHARM | 1600 |  | 1376 | 0 | 224 |  | 14% | #DIV/0!
RTU-11 | DELI | 2300 |  | 2208 | 0 | 92 |  | 4% | #DIV/0!
RTU-12 | BAKERY | 1600 |  | 1536 | 0 | 64 |  | 4% | #DIV/0!
RTU-13 | BACKROOM | 1800 |  | 1620 | 0 | 180 |  | 10% | #DIV/0!
RTU-14 | BBACKROOM | 1800 |  | 1530 | 0 | 270 |  | 15% | #DIV/0!
RTU-15 | DOCK | 2850 |  | 2223 | 0 | 627 |  | 22% | #DIV/0!
RTU-16 | OFFICES | 2675 |  | 2033 | 0 | 642 |  | 24% | #DIV/0!
RTU-17 | PICKUP | 2800 |  | 2240 | 0 | 560 |  | 20% | #DIV/0!
RTU-18 | VESTIBLE | 3000 |  | 2850 |  | 150 |  | 5% | #DIV/0!
RTU-19 | VESTIBLE | 3000 |  | 2850 | 0 | 150 |  | 5% | #DIV/0!
RTU-20 | TLC | 1200 |  | 960 | 0 | 240 |  | 20% | #DIV/0!
EF-9 | BAKERY OVEN | [10 empty] | 600
EF-10 | BAKERY OVEN | [10 empty] | 600
EF-4 | DELI HOOD | [10 empty] | 2400
EF-1 | CUSTOMER | [12 empty] | 650
EF-2 | TLC | [12 empty] | 200
EF-3 | EMPLOYEE RRS | [12 empty] | 400
EF-5 | ELECTRICAL | [12 empty] | 800
EF-6 | ELECTRICAL | [12 empty] | 800
EF-7 | SEAFOOD | [12 empty] | 700
EF-8 | CLEANING WATER | [12 empty] | 200
TOTALS |  | 71565 | 0 | 59366 | 0 | 12199 | 0 |  |  | 0 | 0 | 3600 | 0 | 3750 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | TRUE | FALSE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  | 12199 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  | 7350 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | 4849 | 0 |  | REAR | [10 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0