## VAVs
National TAB
Project: CW 9111 - Suite 130 Lounge & Conference Reno
Address: 9111 Cypress Waters Blvd #130 Dallas, TX 75019
Asset: Single Duct VAV's
Asset | Area Served | Address | Type | Size | Design Max CFM | Actual Max CFM | Design Min CFM | Actual Min CFM | Design Heat CFM | Actual Heat CFM | Ak (max)
VAV 1-07 | 104 |  |  | 12 | 1180 |  | 236
VAV 1-08 | 101 |  |  | 8 | 215 |  | 43
VAV 1-10 | 102 |  |  |  | 300 |  | 60
Note on C7: NTAB: BILLINGSLEY ONLY

## FPB
National TAB
Project: CW 9111 - Suite 130 Lounge & Conference Reno
Address: 9111 Cypress Waters Blvd #130 Dallas, TX 75019
Asset: Parallel Fan Powered Boxes
Asset | Area Served | Address | Type | Size | Design Max CFM | Actual Max CFM | Design Min CFM | Min CFM | Design Fan + Heat CFM | Actual Fan + Heat CFM | Ak (max)
FP1-10 | 103 |  |  | 12 | 1330 |  | 333 |  | 931
Note on C7: NTAB: BILLINGSLEY ONLY
Note on J7: NTAB: Fan PLUS Heat CFM

## SGRD
National TAB
Project: CW 9111 - Suite 130 Lounge & Conference Reno
Address: 9111 Cypress Waters Blvd #130 Dallas, TX 75019
Asset: SUPPLY
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
V7-1 | 104 | C | 10 | 295 |  |  | 0
V7-2 | 104 | C | 10 | 295 |  |  | 0
V7-3 | 104 | C | 10 | 295 |  |  | 0
V7-4 | 104 | C | 10 | 295 |  |  | 0
VAV 1-07 |  |  |  | 1180 |  | 0 | 0
V8-1 | 101 | C | 8 | 215 |  |  | 0
VAV 1-08 |  |  |  | 215 |  | 0 | 0
V11-1 | 102 | CD |  | 200 |  |  | 0
V11-2 | 100 | A | 6X6 | 100 |  |  | 0
VAV 1-11 |  |  |  | 300 |  | 0 | 0
F10-1 | 103 | LD |  | 165 |  |  | 0
F10-2 | 103 | LD |  | 165 |  |  | 0
F10-3 | 103 | LD |  | 250 |  |  | 0
F10-4 | 103 | LD |  | 250 |  |  | 0
F10-5 | 103 | LD |  | 250 |  |  | 0
F10-6 | 103 | LD |  | 250 |  |  | 0
FP 1-10 |  |  |  | 1330 |  | 0 | 0

## EF DD
National TAB
Project: CW 9111 - Suite 130 Lounge & Conference Reno
Address: 9111 Cypress Waters Blvd #130 Dallas, TX 75019
Asset: EF1-02 | Area: 105
Unit Data |  | Test Data
MFG |  |  | Design | Actual
Model Num |  | CFM | 250
Serial Num |  | Fan RPM
Type |  | RL Voltage
RL Amperage
Motor Data |  | Suction ESP
Motor MFG |  | Total ESP
Frame
Horsepower
Motor Rpm
Phase
Voltage (rated)
Amperage (rated)
Service Factor
-