## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
AHU-1 |  |  |  | 0 | 0 |  |  | #DIV/0! | #DIV/0!
AC-1 | FRONT OFFICE |  |  | 0 | 0 |  |  | #DIV/0! | #DIV/0!
AC-2 | BAKERY |  |  | 0 | 0 |  |  | #DIV/0! | #DIV/0!
AC-3 | PHARMACY |  |  | 0 | 0 | 0 |  | #DIV/0! | #DIV/0!
AC-4 | LIQUOR |  |  | 0 | 0 |  |  | #DIV/0! | #DIV/0!
MUA-1 | DELI HOOD | [8 empty] | 1500
HEF-1 | HOOD 1 | [10 empty] | 2500
HEF-2 | HOOD 2
EF-3 | BAKERY RACK OVEN | [12 empty] | 800
EF-4 | RESTROOMS | [12 empty] | 330
EF-6 | ELECTRICAL ROOM | [12 empty] | 500
EF-7 | EMPLOYEE RESTROOMS | [12 empty] | 180
EF-9 | PHARMACY RESTROOM | [12 empty] | 70
TOTALS |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 1500 | 0 | 2500 | 0 | 1880 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | FALSE | TRUE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 0
TOTAL OA |  | 1500 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  | 4380 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | -2880 | 0 |  | REAR | [10 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0