## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
RTU-1 | GENERAL SALES | 3150 |  | 2677 | 0 | 473 |  | 15.02% | #DIV/0!
RTU-2 | GENERAL SALES | 3570 |  | 3034 | 0 | 536 |  | 15.01% | #DIV/0!
RTU-3 | GENERAL SALES | 4200 |  | 3570 | 0 | 630 |  | 15% | #DIV/0!
RTU-4 | PHARMACY | 2100 |  | 2100 | 0 | 0 |  | 0% | #DIV/0!
RTU-5 | STOCKROOM | 1260 |  | 1071 | 0 | 189 |  | 15% | #DIV/0!
RTU-6 | PHOTO AREA | 1260 |  | 1071 | 0 | 189 |  | 15% | #DIV/0!
EF-2 | RESTROOMS | [12 empty] | 500
EF-3 | ELECTRICAL ROOM | [12 empty] | 400
TOTALS |  | 15540 | 0 | 13523 | 0 | 2017 | 0 |  |  | 0 | 0 | 0 | 0 | 900 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | TRUE | FALSE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  | 2017 | 0 |  | FRONT | [10 empty] | TRUE | FALSE | FALSE
TOTAL EXHAUST |  | 900 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | 1
NET AIRFLOW |  | 1117 | 0 |  | REAR | [10 empty] | TRUE
[5 empty] | AVERAGE | [5 empty] | DESIGN PRESSURIZATION IS >10% I(OA - EXH) / EXH > 10% |  |  |  | 1
0
[11 empty] | ACTUAL PRESSURIZATION IS >10% I(OA - EXH) / EXH > 10% |  |  |  | 0
NOTES:
DESIGN NET PRESSURIZATION CALCULATION
124.1%