## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
RTU-1 | Front Kitchen | 3000 |  | 2400 | 0 | 600 |  | 20% | #DIV/0!
RTU-2 | Back Kitchen | 1600 |  | 1440 | 0 | 160 |  | 10% | #DIV/0!
RTU-3 | Dining | 3000 |  | 2400 | 0 | 600 |  | 20% | #DIV/0!
MUA-1 | Kitchen Hood | [8 empty] | 1757
EF-1 | Kitchen Hood | [10 empty] | 2117
EF-1 | Women's | [12 empty] | 125
EF-2 | Men's | [12 empty] | 125
TOTALS |  | 7600 | 0 | 6240 | 0 | 1360 | 0 |  |  | 1757 | 0 | 2117 | 0 | 250 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  | 3117 | 0 |  | FRONT
TOTAL EXHAUST |  | 2367 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | 750 | 0 |  | REAR
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0 | TRUE | FALSE | FALSE
HD | [14 empty] | 0
[16 empty] | #DIV/0! | #DIV/0! | FALSE
#DIV/0!