## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
RTU-1 | SALES | 10000 |  | 5000 | 0 | 5000 |  | 50% | #DIV/0!
RTU-2 | BRK ROOM | 800 |  | 600 | 0 | 200 |  | 25% | #DIV/0!
RTU-3 | BAKERY | 4000 |  | 3000 | 0 | 1000 |  | 25% | #DIV/0!
RTU-4 | DELI | 3000 |  | 2250 | 0 | 750 |  | 25% | #DIV/0!
RTU-5 | PHARM. | 800 |  | 600 | 0 | 200 |  | 25% | #DIV/0!
RTU-6 | SALES | 8000 |  | 6000 | 0 | 2000 |  | 25% | #DIV/0!
RTU-7 | SALES | 8000 |  | 6000 | 0 | 2000 |  | 25% | #DIV/0!
RTU-8 | LIQ. DEPT | 3000 |  | 2250 | 0 | 750 |  | 25% | #DIV/0!
RTU-9 | BANK | 800 |  | 600 | 0 | 200 |  | 25% | #DIV/0!
RTU-10 | ENTRY VEST. | 1600 |  | 1200 | 0 | 400 |  | 25% | #DIV/0!
RTU-11 | PRODUCE | 6000 |  | 4500 | 0 | 1500 |  | 25% | #DIV/0!
MUA-1 | HOOD | [8 empty] | 2300
EF-1 | KH-1 | [10 empty] | 2829
EF-2 | KH-2 | [10 empty] | 1923
EF-3 | KH-3 | [10 empty] | 967
EF-4 | KH-4 | [10 empty] | 810
EF-6 | TRASH COMP. | [12 empty] | 600
EF-8 | TOILET EXH. | [12 empty] | 675
EF-9 | CUST. SERV. | [12 empty] | 1200
EF-10 | UNI. TOILET. | [12 empty] | 75
TOTALS |  | 46000 | 0 | 32000 | 0 | 14000 | 0 |  |  | 2300 | 0 | 6529 | 0 | 2550 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | TRUE | FALSE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  | 16300 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  | 9079 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | 7221 | 0 |  | REAR | [10 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0