## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
AHU1-1 | BOH | 600 |  | 0 | 0 | 600 |  | 100% | #DIV/0!
AHU1-2 | BOH | 600 |  | 0 | 0 | 600 |  | 100% | #DIV/0!
AHU2-1 | KITCHEN | 1500 |  | 0 | 0 | 0 |  | 0% | #DIV/0!
AHU3-1 | DINING | 1200 |  | 0 | 0 | 0 |  | 0% | #DIV/0!
AHU3-2 | DINING | 1200 |  | 0 | 0 | 0 |  | 0% | #DIV/0!
AHU3-3 | DINING | 1200 |  | 0 | 0 | 0 |  | 0% | #DIV/0!
IU1-1 | BOH | 300 |  | 0 | 0 | 0 |  | 0% | #DIV/0!
IU1-2 | BOH | 300 |  | 0 | 0 | 0 |  | 0% | #DIV/0!
IU2-1 | BOH | 400 |  | 0 | 0 | 0 |  | 0% | #DIV/0!
IU3-1 | BOH | 500 |  | 0 | 0 | 0 |  | 0% | #DIV/0!
IU3-2 | BOH | 500 |  | 0 | 0 | 0 |  | 0% | #DIV/0!
MUA-1 | KITCHEN HOOD | [8 empty] | 3450
EF-1 | KITCHEN HOOD | [10 empty] | 3200
EF-2 | RESTROOM | [12 empty] | 450
TOTALS |  | 8300 | 0 | 0 | 0 | 1200 | 0 |  |  | 3450 | 0 | 3200 | 0 | 450 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | TRUE | FALSE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  | 4650 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  | 3650 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | 1000 | 0 |  | REAR | [10 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | CAPTIVE-AIRE |  | SOLO 10 16X16 |  |  |  | ACPSP |  | 177X12 |  | 2250 |  | 3200 |  | -950