## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
RTU-1 | CHECK OUT | 10500 |  | 8500 | 0 | 2000 |  | 19.05% | #DIV/0!
RTU-2 | SALES | 5000 |  | 4000 | 0 | 1000 |  | 20% | #DIV/0!
RTU-3 | SALES | 5000 |  | 4000 | 0 | 1000 |  | 20% | #DIV/0!
RTU-4 | SALES | 5000 |  | 4000 | 0 | 1000 |  | 20% | #DIV/0!
RTU-5 | SALES | 5000 |  | 5000 | 0 | 0 |  | 0% | #DIV/0!
RTU-6 | SALES | 5000 |  | 5000 | 0 | 0 |  | 0% | #DIV/0!
RTU-7 | SALES | 5000 |  | 4000 | 0 | 1000 |  | 20% | #DIV/0!
RTU-8 | SALES | 5000 |  | 4000 | 0 | 1000 |  | 20% | #DIV/0!
RTU-9 | BOH | 2800 |  | 2450 | 0 | 350 |  | 12.5% | #DIV/0!
RTU-10 | OFFICES | 3200 |  | 2850 | 0 | 350 |  | 10.94% | #DIV/0!
RTU-11 | HALLWAY | 4000 |  | 3575 | 0 | 425 |  | 10.62% | #DIV/0!
RTU-12 | FOOD AREA | 5200 |  | 4650 | 0 | 550 |  | 10.58% | #DIV/0!
RTU-13 | ENTRANCE/EXIT | 4400 |  | 3400 | 0 | 1000 |  | 22.73% | #DIV/0!
RTU-14 | PHARMACY | 1600 |  | 1340 | 0 | 260 |  | 16.25% | #DIV/0!
EF-5 | KITCHEN HD | [10 empty] | 3150
EF-2 | RESTROOM | [12 empty] | 200
EF-3 | MEAT/SEAFOOD | [12 empty] | 1200
EF-4 | BAKERY | [12 empty] | 900
EF-6 | RESTROOM | [12 empty] | 600
TOTALS |  | 66700 | 0 | 56765 | 0 | 9935 | 0 |  |  | 0 | 0 | 3150 | 0 | 2900 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | TRUE | FALSE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  | 9935 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  | 6050 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | 3885 | 0 |  | REAR | [10 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0