## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HOOD ON OA |  | HOOD OFF OA |  | HOOD ON EXHAUST |  | HOOD OFF EXHAUST
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
RTU 1 | SALES | 860 |  | 410
RTU-2 | SALES | 860 |  | 410
RTU-3 | KITCHEN/SALES | 860 |  | 410
RTU-4 | BOH | 270 |  | 270
EF-1 | MEN'S RR |  |  |  |  | 650 |  | 650
EF-2 | WOMEN'S RR |  |  |  |  | 350 |  | 350
EF-3 | HOOD |  |  |  |  | 1350 |  | 0
TOTALS |  | 2850 | 0 | 1500 | 0 | 2350 | 0 | 1000 | 0
HOODS ON
[10 empty] | TRUE | FALSE | FALSE
NET AIRFLOW CALCULATION | [5 empty] | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20)
TOTALS |  | DESIGN | ACTUAL | [6 empty] | TRUE | FALSE | FALSE
TOTAL OA |  | 2850 | 0 |  |  | FRONT
TOTAL EXHAUST |  | 2350 | 0 |  |  | SIDE |  |  |  | FALSE
NET AIRFLOW |  | 500 | 0 |  |  | REAR
AVERAGE
HOODS OFF
NET AIRFLOW CALCULATION | [5 empty] | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20)
TOTALS |  | DESIGN | ACTUAL
TOTAL OA |  | 1500 | 0 |  |  | FRONT
TOTAL EXHAUST |  | 1000 | 0 |  |  | SIDE
NET AIRFLOW |  | 500 | 0 |  |  | REAR
AVERAGE
NOTES: