## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
WSHP-1 | BAR | 2000 |  | 1844 | 0 | 156 |  | 7.8% | #DIV/0!
WSHP-2 | DINING | 2000 |  | 1887 | 0 | 113 |  | 5.65% | #DIV/0!
WSHP-3 | BAR | 2000 |  | 1427 | 0 | 573 |  | 28.65% | #DIV/0!
WSHP-4 | DINING | 2000 |  | 1874 | 0 | 126 |  | 6.3% | #DIV/0!
WSHP-5 | DINING | 2000 |  | 1746 | 0 | 254 |  | 12.7% | #DIV/0!
WSHP-6 | DINING | 2000 |  | 1809 | 0 | 191 |  | 9.55% | #DIV/0!
WSHP-7 | EXPO KITCHEN | 2000 |  | 1858 | 0 | 142 |  | 7.1% | #DIV/0!
WSHP-8 | EXPO KITCHEN | 2000 |  | 1890 | 0 | 110 |  | 5.5% | #DIV/0!
WSHP-9 | KITCHEN | 2000 |  | 1784 | 0 | 216 |  | 10.8% | #DIV/0!
WSHP-10 | KITCHEN | 2000 |  | 1383 | 0 | 617 |  | 30.85% | #DIV/0!
WSHP-11 | DINING | 2000 |  | 1854 | 0 | 146 |  | 7.3% | #DIV/0!
WSHP-12 | DINING | 2000 |  | 1778 | 0 | 222 |  | 11.1% | #DIV/0!
WSHP-13 | DINING | 2000 |  | 1793 | 0 | 207 |  | 10.35% | #DIV/0!
WSHP-14 | DINING | 800 |  | 392 | 0 | 408 |  | 51% | #DIV/0!
WSHP-15 | STORAGE | 800 |  | 744 | 0 | 56 |  | 7% | #DIV/0!
WSHP-17 | KITCHEN | 800 |  | 610 | 0 | 190 |  | 23.75% | #DIV/0!
WSHP-18 |  |  |  | 0 | 0 |  |  | #DIV/0! | #DIV/0!
WSHP-19 |  |  |  | 0 | 0 |  |  | #DIV/0! | #DIV/0!
WSHP-20 |  |  |  | 0 | 0 |  |  | #DIV/0! | #DIV/0!
WSHP-21 |  |  |  | 0 | 0 |  |  | #DIV/0! | #DIV/0!
PCU-1 | KH 1-3 | [10 empty] | 6383
EF-1 | RESTROOMS | [12 empty] | 750
EF-2 | DISH HD | [10 empty] | 1050
TOTALS |  | 28400 | 0 | 24673 | 0 | 3727 | 0 |  |  | 0 | 0 | 7433 | 0 | 750 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | FALSE | TRUE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 0
TOTAL OA |  | 3727 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  | 8183 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | -4456 | 0 |  | REAR | [10 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0