## VAV's
National TAB
Project: Anderson GME
Address: 8000 Five Mile Rd. Cincinnati, OH
Asset: VAV's (EXISTING)
Asset | Area Served | Address | Type | Size | Design Max CFM | Actual Max CFM | Design Min CFM | Actual Min CFM | Design Heat CFM | Actual Heat CFM | Ak (max)
VAV-1 | 104 |  |  |  | 490
VAV-2 | 101 |  |  |  | 425
VAV-3 | 108 |  |  |  | 1550
VAV-4 [1] | 131 |  |  |  | 1175
VAV-5 | 128 |  |  |  | 1730
VAV-6 [2] | 115 |  |  |  | 1755
VAV-8 | 120 |  |  |  | 375
VAV-9 | 145 |  |  |  | 500
VAV-10 | 142 |  |  |  | 250
VAV-11 | EXAM |  |  |  | 240
NOTES: | [1] 3 DIFFUSERS MISSING CFM.
[2] 1 DIFFUSER MISSING CFM.
Note on C7: NTAB: BILLINGSLEY ONLY

## SGRD (1)
National TAB
Project: Anderson GME
Address: 8000 Five Mile Rd. Cincinnati, OH
Asset: SUPPLY
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
1-1 | 103 | CD | 8 | 225 |  |  | 0
1-2 | 104 | CD | 8 | 225 |  |  | 0
1-3 | 105 | CD | 6 | 40 |  |  | 0
VAV-1 |  |  |  | 490 |  | 0 | 0
2-1 | 101 | CD | 10 | 125 |  |  | 0
2-2 | 101 | CD | 10 | 125 |  |  | 0
2-3 | 104 | CD | 8 | 125 |  |  | 0
2-4 | HALL | CD | 6 | 50 |  |  | 0
VAV-2 |  |  |  | 425 |  | 0 | 0
3-1 | 108 | CD | 10 | 250 |  |  | 0
3-2 | 131 | CD | 10 | 200 |  |  | 0
3-3 | 108 | CD | 10 | 225 |  |  | 0
3-4 | 106 | CD | 10 | 325 |  |  | 0
3-5 | 106 | CD | 10 | 300 |  |  | 0
3-6 | 131 | CD | 10 | 250 |  |  | 0
VAV-3 |  |  |  | 1550 |  | 0 | 0
4-1 | 131 | CD | 10 | 300 |  |  | 0
4-2 | 131 | CD | 10 | 300 |  |  | 0
4-3 | 131 | CD | 6 | 125 |  |  | 0
4-4 | 131 | CD | 6 | 125 |  |  | 0
4-5 [1] [2] |  | CD |  |  |  |  | #DIV/0!
4-6 | 131 | CD | 6 | 125 |  |  | 0
4-7 | HALL | CD | 6 | 50 |  |  | 0
4-8 | 144 | CD | 6 | 100 |  |  | 0
4-9 [1] [2] | HALL | CD |  |  |  |  | #DIV/0!
4-10 | 140 | CD | 6 | 50 |  |  | 0
4-11 [1] [2] |  | CD |  |  |  |  | #DIV/0!
VAV-4 |  |  |  | 1175 |  | 0 | 0
NOTES: | [1] NO DIFFUSER TYPE, CFM, OR SIZE ON DRAWING.
[2] NO ROOM NUMBER ON DRAWING.

## SGRD (2)
National TAB
Project: Anderson GME
Address: 8000 Five Mile Rd. Cincinnati, OH
Asset: SUPPLY
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
5-1 | 131 | CD | 10 | 250 |  |  | 0
5-2 | 131 | CD | 10 | 275 |  |  | 0
5-3 | 109 | CD | 8 | 100 |  |  | 0
5-4 | 109 | CD | 6 | 90 |  |  | 0
5-5 | 130 | CD | 6 | 75 |  |  | 0
5-6 | 109 | CD | 8 | 100 |  |  | 0
5-7 | 129 | CD | 8 | 125 |  |  | 0
5-8 | 128 | CD | 6 | 80 |  |  | 0
5-9 | 127 | CD | 6 | 80 |  |  | 0
5-10 | 136 | CD | 6 | 100 |  |  | 0
5-11 | 126 | CD | 6 | 75 |  |  | 0
5-12 | 109 | CD | 6 | 90 |  |  | 0
5-13 | 125 | CD | 6 | 40 |  |  | 0
5-14 | 137 | CD | 6 | 100 |  |  | 0
5-15 | 138 | CD | 6 | 75 |  |  | 0
5-16 | 124 | CD | 6 | 75 |  |  | 0
VAV-5 |  |  |  | 1730 |  | 0 | 0
6-1 | 116 | CD | 8 | 275 |  |  | 0
6-2 | 116 | CD | 8 | 275 |  |  | 0
6-3 | 117 | CD | 8 | 225 |  |  | 0
6-4 | 119 | CD | 8 | 250 |  |  | 0
6-5 | 119 | CD | 8 | 250 |  |  | 0
6-6 | 115 | CD | 8 | 115 |  |  | 0
6-7 | 114 | CD | 4 | 25 |  |  | 0
6-8 | 113 | CD | 8 | 100 |  |  | 0
6-9 | 112 | CD | 6 | 80 |  |  | 0
6-10 | 111 | CD | 6 | 80 |  |  | 0
6-11 | 110 | CD | 6 | 80 |  |  | 0
6-12 [1] [2] |  | CD |  |  |  |  | #DIV/0!
VAV-6 |  |  |  | 1755 |  | 0 | 0
NOTES: | [1] NO DIFFUSER TYPE, CFM, OR SIZE ON DRAWING.
[2] NO ROOM NUMBER ON DRAWING.

## SGRD (3)
National TAB
Project: Anderson GME
Address: 8000 Five Mile Rd. Cincinnati, OH
Asset: SUPPLY
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
8-1 | 139 | CD | 6 | 75 |  |  | 0
8-2 | 120 | CD | 8 | 150 |  |  | 0
8-3 | 123 | CD | 6 | 150 |  |  | 0
VAV-8 |  |  |  | 375 |  | 0 | 0
9-1 | 145 | CD | 10 | 250 |  |  | 0
9-2 | 145 | CD | 10 | 250 |  |  | 0
VAV-9 |  |  |  | 500 |  | 0 | 0
10-1 | HALL | CD | 6 | 50 |  |  | 0
10-2 | 142 | CD | 6 | 75 |  |  | 0
10-3 | HALL | CD | 6 | 50 |  |  | 0
10-4 | 141 | CD | 6 | 75 |  |  | 0
VAV-10 |  |  |  | 250 |  | 0 | 0
11-1 | 146 | CD | 6 | 80 |  |  | 0
11-2 | 147 | CD | 6 | 80 |  |  | 0
11-3 | 148 | CD | 6 | 80 |  |  | 0
VAV-11 |  |  |  | 240 |  | 0 | 0
NOTES:

## EGRD (1)
National TAB
Project: Anderson GME
Address: 8000 Five Mile Rd. Cincinnati, OH
Asset: EXHAUST [1]
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
E1-1 | 118 | EG | 12X12 | 50 |  |  | 0
E1-2 | 114 | EG | 12X12 | 50 |  |  | 0
E1-3 | 107 | EG | 12X12 | 50 |  |  | 0
E1-4 | 105 | EG | 12X12 | 50 |  |  | 0
NOTES: | [1] NO EXHAUST FAN LISTED OR EXHAUST DUCT(S) SHOWN.