## RTU-1
National TAB
Project: Aldi #86 (Liberty Twp, OH)
Address: 5420 Liberty-Fairfield Rd Liberty Twp, OH 45011
Asset: RTU-1
Unit Data |  | Test Data
Manufacturer |  |  | Design | Actual
Model Num |  | SF CFM | 8000
Serial Num |  | SF RPM
Configuration |  | RA CFM | 5550
Num OA Filters |  | OA CFM | 2450
OA Filter Size |  | RL VOLTAGE | 208
Num PreFilter | 9 | RL AMPERAGE
PreFilter Size | 16x20x2 | OA Damper Position
Brake Horsepower
Motor Data |  | Performance Data
Motor MFG |  |  | Design | Actual
Frame |  | Fan Suction SP
Horsepower | 7.5 | Fan Discharge SP
Motor RPM |  | Fan Total SP
Phase | 3 | DX Coil PD * |  | *
Rated Voltage | 208 | Pre Filter PD |  | *combined
Rated Amperage |  | Total ESP | 1.5
Service Factor

## RTU-1 SUPPLY
National TAB
Project: Aldi #86 (Liberty Twp, OH)
Address: 5420 Liberty-Fairfield Rd Liberty Twp, OH 45011
Asset: RTU-1 SUPPLY
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
1-1 | 102 | R2 | 12X6 | 270 |  |  | 0
1-2 | 102 | R2 | 12X6 | 270 |  |  | 0
1-3 | 102 | R2 | 12X6 | 270 |  |  | 0
1-4 | 102 | R2 | 12X6 | 270 |  |  | 0
1-5 | 102 | R2 | 12X6 | 270 |  |  | 0
1-6 | 102 | R2 | 12X6 | 270 |  |  | 0
1-7 | 102 | R2 | 12X6 | 270 |  |  | 0
1-8 | 102 | R2 | 12X6 | 270 |  |  | 0
1-9 | 102 | D-2 | 8 | 200 |  |  | 0
1-10 | 102 | D-2 | 8 | 200 |  |  | 0
1-11 | 102 | R2 | 12X6 | 270 |  |  | 0
1-12 | 110 | R-5 | 12X8 | 310 |  |  | 0
1-13 | 102 | R2 | 12X6 | 270 |  |  | 0
1-14 | 102 | R2 | 12X6 | 270 |  |  | 0
1-15 | 102 | R2 | 12X6 | 270 |  |  | 0
1-16 | 102 | R2 | 12X6 | 270 |  |  | 0
1-17 | 102 | R2 | 12X6 | 270 |  |  | 0
1-18 | 102 | R2 | 12X6 | 270 |  |  | 0
1-19 | 102 | R2 | 12X6 | 270 |  |  | 0
1-20 | 102 | R2 | 12X6 | 270 |  |  | 0
1-21 | 102 | R2 | 12X6 | 270 |  |  | 0
1-22 | 102 | R2 | 12X6 | 270 |  |  | 0
1-23 | 102 | R2 | 12X6 | 270 |  |  | 0
1-24 | 102 | R2 | 12X6 | 270 |  |  | 0
1-25 | 102 | R2 | 12X6 | 270 |  |  | 0
1-26 | 102 | R2 | 12X6 | 270 |  |  | 0
1-27 | 102 | R2 | 12X6 | 270 |  |  | 0
1-28 | 102 | R2 | 12X6 | 270 |  |  | 0
1-29 | 102 | R2 | 12X6 | 270 |  |  | 0
1-30 | 102 | R2 | 12X6 | 270 |  |  | 0
RTU-1 SUPPLY |  |  |  | 8000 |  | 0 | 0

## RTU-1 RETURN
National TAB
Project: Aldi #86 (Liberty Twp, OH)
Address: 5420 Liberty-Fairfield Rd Liberty Twp, OH 45011
Asset: RTU-1 RETURN
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
R1-1 | 102 | R-3 |  | 2775 |  |  | 0
R1-2 | 102 | R-3 |  | 2775 |  |  | 0
RTU-1 RETURN |  |  |  | 5550 |  | 0 | 0

## RTU-2
National TAB
Project: Aldi #86 (Liberty Twp, OH)
Address: 5420 Liberty-Fairfield Rd Liberty Twp, OH 45011
Asset: RTU-2
Unit Data |  | Test Data
Manufacturer |  |  | Design | Actual
Model Num |  | SF CFM | 600
Serial Num |  | SF RPM
Configuration |  | RA CFM | 420
Num OA Filters |  | OA CFM | 180
OA Filter Size |  | RL VOLTAGE | 208
Num PreFilter | 4 | RL AMPERAGE
PreFilter Size | 16x20x2 | OA Damper Position
Brake Horsepower
Motor Data |  | Performance Data
Motor MFG |  |  | Design | Actual
Frame |  | Fan Suction SP
Horsepower | 0.25 | Fan Discharge SP
Motor RPM |  | Fan Total SP
Phase | 1 | DX Coil PD * |  | *
Rated Voltage | 208 | Pre Filter PD |  | *combined
Rated Amperage |  | Total ESP | 0.5
Service Factor

## RTU-2 GRD
National TAB
Project: Aldi #86 (Liberty Twp, OH)
Address: 5420 Liberty-Fairfield Rd Liberty Twp, OH 45011
Asset: RTU-2 SUPPLY
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
2-1 | 105 | D-1 | 6 | 100 |  |  | 0
2-2 | 103 | D-1 | 6 | 100 |  |  | 0
2-3 | 104 | D-1 | 6 | 100 |  |  | 0
2-4 | 106 | D-1 | 8 | 150 |  |  | 0
2-5 | 106 | D-1 | 8 | 150 |  |  | 0
|  |  |  | 600 |  | 0 | 0
Asset: RTU-2 RETURN
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
R2-1 | 104 | R-1 | 8 | 145 |  |  | 0
R2-2 | 106 | R-1 | 10 | 275 |  |  | 0
|  |  |  | 420 |  | 0 | 0

## EF-1
National TAB
Project: Aldi #86 (Liberty Twp, OH)
Address: 5420 Liberty-Fairfield Rd Liberty Twp, OH 45011
Asset: EF-1 |  |  | Area: BREAK ROOM 106
Unit Data |  |  |  |  | Test Data
MFG | [5 empty] | Design | Actual
Model Num |  |  |  |  | CFM | 180
Serial Num |  |  |  |  | Fan RPM | 1319
Type |  | CRE DB |  |  | RL Voltage | 120
RL Amperage
Motor Data |  |  |  |  | Suction ESP
Motor MFG |  |  |  |  | Total ESP | 0.25
Frame
Horsepower |  | 0.033
Motor Rpm
Phase |  | 1
Voltage (rated) |  | 120
Amperage (rated)
Service Factor
Asset | Area Served | Type | Size | DESIGN | CFM(1) | FINAL CFM | % to design
E1-1 | 106 |  |  | 180 |  |  | 0
-

## EF-2
National TAB
Project: Aldi #86 (Liberty Twp, OH)
Address: 5420 Liberty-Fairfield Rd Liberty Twp, OH 45011
Asset: EF-2 |  | Area: BACK ROOM 109
Unit Data |  |  | Test Data
MFG |  |  |  | Design | Actual
Model Num |  |  | CFM | 1700
Serial Num |  |  | Fan RPM | 1633
Type | CRE DB |  | RL Voltage | 120
RL Amperage
Motor Data |  |  | Suction ESP
Motor MFG |  |  | Total ESP | 0.4
Frame
Horsepower | 0.25
Motor Rpm
Phase | 1
Voltage (rated) | 120
Amperage (rated)
Service Factor
-

## EF-3
National TAB
Project: Aldi #86 (Liberty Twp, OH)
Address: 5420 Liberty-Fairfield Rd Liberty Twp, OH 45011
Asset: EF-3 |  |  | Area: RESTROOMS
Unit Data |  |  |  |  | Test Data
MFG | [5 empty] | Design | Actual
Model Num |  |  |  |  | CFM | 300
Serial Num |  |  |  |  | Fan RPM | 1519
Type |  | CRE DB |  |  | RL Voltage | 120
RL Amperage
Motor Data |  |  |  |  | Suction ESP
Motor MFG |  |  |  |  | Total ESP | 0.4
Frame
Horsepower |  | 0.05
Motor Rpm
Phase |  | 1
Voltage (rated) |  | 120
Amperage (rated)
Service Factor
Asset | Area Served | Type | Size | DESIGN | CFM(1) | FINAL CFM | % to design
E3-1 | 105 | E-1 | 10X10 | 150 |  |  | 0
E3-2 | 103 | E-1 | 10X10 | 150 |  |  | 0
|  |  |  | 300 |  | 0 | 0
-