## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
AC-1 | KITCHEN/RR | 5000 |  | 3650 | 0 | 1350 |  | 27% | #DIV/0!
AC-2 | DINING 2 | 5000 |  | 3750 | 0 | 1250 |  | 25% | #DIV/0!
AC-3 | BAR | 5000 |  | 3800 | 0 | 1200 |  | 24% | #DIV/0!
AC-4 | DINING 1 & FOYER | 5000 |  | 3900 | 0 | 1100 |  | 22% | #DIV/0!
MUA-1 | HD1 & HD2 | [8 empty] | 3350
MUA-2 | HD4, HD5, HD6 & HD7 | [8 empty] | 7840
EF-1 | HD1 & HD2 | [10 empty] | 3800
EF-2 | HD3 | [10 empty] | 1400
EF-3 | HD4 | [10 empty] | 3200
EF-4 | HD5 | [10 empty] | 1800
EF-5 | HD6 | [10 empty] | 3500
EF-6 | HD7 | [10 empty] | 800
EF-7 | RESTROOM | [12 empty] | 700
EF-8 | STAFF RR | [12 empty] | 100
TOTALS |  | 20000 | 0 | 15100 | 0 | 4900 | 0 |  |  | 11190 | 0 | 14500 | 0 | 800 | 0 | TRUE | FALSE | FALSE
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | #DIV/0! | #DIV/0! | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  | 16090 | 0 |  | FRONT | [10 empty] | #DIV/0!
TOTAL EXHAUST |  | 15300 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | 790 | 0 |  | REAR
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0