## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
RTU-1 | SALES FLOOR | 3200 |  | 3200 | 0 | 0 |  | 0% | #DIV/0!
RTU-2 | SALES FLOOR | 3200 |  | 3200 | 0 | 0 |  | 0 | #DIV/0!
RTU-3 | SALES FLOOR | 3200 |  | 3200 | 0 | 0 |  | 0 | #DIV/0!
RTU-4 | SALES FLOOR | 3200 |  | 3200 | 0 | 0 |  | 0 | #DIV/0!
RTU-5 | SALES FLOOR | 3200 |  | 3200 | 0 | 0 |  | 0 | #DIV/0!
RTU-6 | SALES FLOOR | 3200 |  | 3200 | 0 | 0 |  | 0 | #DIV/0!
RTU-13 | CART CORRAL | 2400 |  | 2100 | 0 | 300 |  | 0.125 | #DIV/0!
RTU-14 | CART CORRAL | 2400 |  | 2100 | 0 | 300 |  | 0.125 | #DIV/0!
RTU-16 | PHARMARCY | 2400 |  | 1950 | 0 | 450 |  | 0.1875 | #DIV/0!
RTU-17 | CHECKOUT | 2400 |  | 2400 | 0 | 0 |  | 0 | #DIV/0!
RTU-18 | BACKROOM | 2000 |  | 1725 | 0 | 275 |  | 0.1375 | #DIV/0!
RTU-20 | DOCK | 2000 |  | 1670 | 0 | 330 |  | 0.165 | #DIV/0!
RTU-21 | EMPLOYEE AREA | 2400 |  | 1900 | 0 | 500 |  | 0.20833 | #DIV/0!
RTU-23 | BAKERY | 2000 |  | 1440 | 0 | 560 |  | 0.28 | #DIV/0!
RTU-24 | DELI | 2000 |  | 1660 | 0 | 340 |  | 0.17 | #DIV/0!
DOAS-1 | SALES FLOOR | 0 |  | -2700 | 0 | 2700 |  | #DIV/0! | #DIV/0!
DOAS-2 | SALES FLOOR | 0 |  | -2700 | 0 | 2700 |  | #DIV/0! | #DIV/0!
EF-K1 | HOOD | [10 empty] | 2700
EF-C1 | SPRAY DOWN | [12 empty] | 400
EF-E1 | ELECTRICAL | [12 empty] | 800
EF-E2 | PHARMACY | [12 empty] | 200
EF-G1 | BAKERY PREP | [12 empty] | 900
EF-G2 | BAKERY PREP | [12 empty] | 900
EF-M2 | DELI | [12 empty] | 150
EF-R1 | EMPLOYEE AREA | [12 empty] | 400
EF-R2 | RESTROOMS | [12 empty] | 300
EF-R3 | FAMILY | [12 empty] | 75
EF-S1 | BAKERY | [12 empty] | 300
EF-S2 | SUSHI PREP | [12 empty] | 300
TOTALS |  | 39200 | 0 | 30745 | 0 | 8455 | 0 |  |  | 0 | 0 | 2700 | 0 | 4725 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | TRUE | FALSE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  | 8455 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  | 7425 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | 1030 | 0 |  | REAR | [10 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0