## RTU-1
National TAB
Project: Starr Electric
Address: 1808 Norland Road Charlotte, NC
Asset: RTU-1 | Area:
Unit Data |  | Test Data
Manufacturer |  |  | Design | Actual
Model Num |  | SF CFM | 2875
Serial Num |  | SF RPM
Configuration |  | RA CFM | 2475
Num OA Filters |  | OA CFM | 400
OA Filter Size |  | RL VOLTAGE
Num PreFilter |  | RL AMPERAGE
PreFilter Size |  | OA Damper Position
Brake Horsepower
Motor Data |  | Performance Data
Motor MFG |  |  | Design | Actual
Frame |  | Fan Suction SP
Horsepower |  | Fan Discharge SP
Motor RPM |  | Fan Total SP
Phase |  | CX Coil PD *
Rated Voltage |  | Pre Filter PD *Combined
Rated Amperage |  | Total ESP
Service Factor
Drive Data
Motor Sheave Size / Bore
Fan Sheave Size / Bore
Belt CL Distance
No. Belts / Size

## RTU-1 VAV's
National TAB
Project: Starr Electric
Address: 1808 Norland Road Charlotte, NC
Asset: AHU-1 VAV's
Asset | Area Served | Type | Size | Design Max CFM | Actual Max CFM | Design Min CFM | Actual Min CFM | Design Heat CFM | Actual Heat CFM | Ak (max)
VAV-1.1 |  |  | 24X12 | 750 |  | 150
VAV-1.2 |  |  | 24X12 | 825 |  | 165
VAV-1.3 |  |  | 10 | 300 |  | 60
VAV-1.4 |  |  | 10 | 300 |  | 60
VAV-1.5 |  |  | 14X12 | 450 |  | 90
VAV-1.6 |  |  | 10 | 250 |  | 50
2875
NOTES: | DESIGN MIN CFM IS 20% OF DESIGN MAX CFM
Note on C7: NTAB: BILLINGSLEY ONLY

## RTU-1 GRD's
National TAB
Project: Starr Electric
Address: 1808 Norland Road Charlotte, NC
Asset: AHU-1 SGRD's
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
1.1-1 |  | A | 10 | 250 |  |  | 0
1.1-2 |  | A | 10 | 250 |  |  | 0
1.1-3 |  | A | 10 | 250 |  |  | 0
VAV-1.1 |  |  |  | 750 |  | 0 | 0
1.2-1 |  | A | 10 | 300 |  |  | 0
1.2-2 |  | A | 10 | 225 |  |  | 0
1.2-3 |  | A | 10 | 300 |  |  | 0
VAV-1.2 |  |  |  | 825 |  | 0 | 0
1.3-1 |  | A | 10 | 300 |  |  | 0
VAV-1.3 |  |  |  | 300 |  | 0 | 0
1.4-1 |  | A | 10 | 300 |  |  | 0
VAV-1.4 |  |  |  | 300 |  | 0 | 0
1.5-1 |  | A | 8 | 150 |  |  | 0
1.5-2 |  | A | 10 | 300 |  |  | 0
VAV-1.5 |  |  |  | 450 |  | 0 | 0
1.6-1 |  | A | 10 | 250 |  |  | 0
VAV-1.6 |  |  |  | 250 |  | 0 | 0
Asset: AHU-1 EGRD's
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
R1-1 |  | B | 10 | 300 |  |  | 0
R1-2 |  | B | 14 | 825 |  |  | 0
R1-3 |  | B | 14 | 750 |  |  | 0
R1-4 |  | B | 10 | 300 |  |  | 0
R1-5 |  | B | 10 | 300 |  |  | 0
RTU-1 |  |  |  | 2475 |  | 0 | 0

## RTU-2
National TAB
Project: Starr Electric
Address: 1808 Norland Road Charlotte, NC
Asset: RTU-2 | Area:
Unit Data |  | Test Data
Manufacturer |  |  | Design | Actual
Model Num |  | SF CFM | 1600
Serial Num |  | SF RPM
Configuration |  | RA CFM | 1250
Num OA Filters |  | OA CFM | 350
OA Filter Size |  | RL VOLTAGE
Num PreFilter |  | RL AMPERAGE
PreFilter Size |  | OA Damper Position
Brake Horsepower
Motor Data |  | Performance Data
Motor MFG |  |  | Design | Actual
Frame |  | Fan Suction SP
Horsepower |  | Fan Discharge SP
Motor RPM |  | Fan Total SP
Phase |  | CX Coil PD *
Rated Voltage |  | Pre Filter PD *Combined
Rated Amperage |  | Total ESP
Service Factor
Drive Data
Motor Sheave Size / Bore
Fan Sheave Size / Bore
Belt CL Distance
No. Belts / Size

## RTU-2 GRD's
National TAB
Project: Starr Electric
Address: 1808 Norland Road Charlotte, NC
Asset: RTU-2 SGRD's
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
2-1 |  | A | 10 | 225 |  |  | 0
2-2 |  | A | 10 | 225 |  |  | 0
2-3 |  | A | 8 | 125 |  |  | 0
2-4 |  | A | 8 | 125 |  |  | 0
2-5 |  | A | 8 | 175 |  |  | 0
2-6 |  | A | 8 | 140 |  |  | 0
2-7 |  | A | 8 | 140 |  |  | 0
RTU-2* |  |  |  | 1155 |  | 0 | 0
*NOTES: | SUPPLY DUCT CONTINUES INTO A "NO WORK" AREA. ASSUME ADDITIONAL SGRD's.
Asset: RTU-2 EGRD's
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
R2-1 |  | B | 8 | 125 |  |  | 0
R2-2 |  | B | 8 | 175 |  |  | 0
R2-3 |  | B | 8 | 125 |  |  | 0
R2-4 |  | B | 14 | 700 |  |  | 0
R2-5 |  | B | 8 | 125 |  |  | 0
RTU-2 |  |  |  | 1250 |  | 0 | 0

## RTU-5
National TAB
Project: Starr Electric
Address: 1808 Norland Road Charlotte, NC
Asset: RTU-5 | Area:
Unit Data |  | Test Data
Manufacturer |  |  | Design | Actual
Model Num |  | SF CFM | 2010
Serial Num |  | SF RPM
Configuration |  | RA CFM | 1650
Num OA Filters |  | OA CFM | 360
OA Filter Size |  | RL VOLTAGE
Num PreFilter |  | RL AMPERAGE
PreFilter Size |  | OA Damper Position
Brake Horsepower
Motor Data |  | Performance Data
Motor MFG |  |  | Design | Actual
Frame |  | Fan Suction SP
Horsepower |  | Fan Discharge SP
Motor RPM |  | Fan Total SP
Phase |  | CX Coil PD *
Rated Voltage |  | Pre Filter PD *Combined
Rated Amperage |  | Total ESP
Service Factor
Drive Data
Motor Sheave Size / Bore
Fan Sheave Size / Bore
Belt CL Distance
No. Belts / Size

## RTU-5 VAV's
National TAB
Project: Starr Electric
Address: 1808 Norland Road Charlotte, NC
Asset: AHU-5 VAV's
Asset | Area Served | Type | Size | Design Max CFM | Actual Max CFM | Design Min CFM | Actual Min CFM | Design Heat CFM | Actual Heat CFM | Ak (max)
VAV-5.1 |  |  |  | 1050 |  | 210
VAV-5.2 |  |  |  | 960 |  | 192
2010
NOTES: | DESIGN MIN CFM IS 20% OF DESIGN MAX CFM
Note on C7: NTAB: BILLINGSLEY ONLY

## RTU-5 GRD's
National TAB
Project: Starr Electric
Address: 1808 Norland Road Charlotte, NC
Asset: RTU-5 SGRD's
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
5.1-1 |  | A | 8 | 200 |  |  | 0
5.1-2 |  | A | 8 | 200 |  |  | 0
5.1-3 |  | A | 8 | 200 |  |  | 0
5.1-4 |  | A | 8 | 150
5.1-5 |  | A | 10 | 300 |  |  | 0
VAV-5.1 |  |  |  | 1050 |  | 0 | 0
5.2-1 |  | C | 10 | 320 |  |  | 0
5.2-2 |  | C | 10 | 320 |  |  | 0
5.2-3 |  | C | 10 | 320 |  |  | 0
VAV-5.2 |  |  |  | 960 |  | 0 | 0
Asset: RTU-5 EGRD's
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
R1-1 |  | B | 10 | 200 |  |  | 0
R1-2 |  | B | 10 | 200 |  |  | 0
R1-3 |  | B | 10 | 200 |  |  | 0
R1-4 |  | B | 16 | 1050 |  |  | 0
RTU-5 |  |  |  | 1650 |  | 0 | 0

## RTU-6
National TAB
Project: Starr Electric
Address: 1808 Norland Road Charlotte, NC
Asset: RTU-6 | Area:
Unit Data |  | Test Data
Manufacturer |  |  | Design | Actual
Model Num |  | SF CFM | 800
Serial Num |  | SF RPM
Configuration |  | RA CFM | 800
Num OA Filters |  | OA CFM | 0
OA Filter Size |  | RL VOLTAGE
Num PreFilter |  | RL AMPERAGE
PreFilter Size |  | OA Damper Position
Brake Horsepower
Motor Data |  | Performance Data
Motor MFG |  |  | Design | Actual
Frame |  | Fan Suction SP
Horsepower |  | Fan Discharge SP
Motor RPM |  | Fan Total SP
Phase |  | CX Coil PD *
Rated Voltage |  | Pre Filter PD *Combined
Rated Amperage |  | Total ESP
Service Factor
Drive Data
Motor Sheave Size / Bore
Fan Sheave Size / Bore
Belt CL Distance
No. Belts / Size

## RTU-6 GRD's
National TAB
Project: Starr Electric
Address: 1808 Norland Road Charlotte, NC
Asset: RTU-6 SGRD's
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
6-1 |  | A | 8 | 200 |  |  | 0
6-2 |  | A | 8 | 200 |  |  | 0
6-3 |  | A | 8 | 200 |  |  | 0
6-4 |  | A | 8 | 200 |  |  | 0
RTU-6 |  |  |  | 800 |  | 0 | 0
Asset: RTU-6 EGRD's
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
R6-1 |  | B | 8 | 200 |  |  | 0
R6-2 |  | B | 8 | 200 |  |  | 0
R6-3 |  | B | 8 | 200 |  |  | 0
R6-4 |  | B | 8 | 200 |  |  | 0
RTU-6 |  |  |  | 800 |  | 0 | 0

## RTU-7
National TAB
Project: Starr Electric
Address: 1808 Norland Road Charlotte, NC
Asset: RTU-7 | Area:
Unit Data |  | Test Data
Manufacturer |  |  | Design | Actual
Model Num |  | SF CFM | 1000
Serial Num |  | SF RPM
Configuration |  | RA CFM | 1000
Num OA Filters |  | OA CFM | 0
OA Filter Size |  | RL VOLTAGE
Num PreFilter |  | RL AMPERAGE
PreFilter Size |  | OA Damper Position
Brake Horsepower
Motor Data |  | Performance Data
Motor MFG |  |  | Design | Actual
Frame |  | Fan Suction SP
Horsepower |  | Fan Discharge SP
Motor RPM |  | Fan Total SP
Phase |  | CX Coil PD *
Rated Voltage |  | Pre Filter PD *Combined
Rated Amperage |  | Total ESP
Service Factor
Drive Data
Motor Sheave Size / Bore
Fan Sheave Size / Bore
Belt CL Distance
No. Belts / Size

## RTU-7 GRD's
National TAB
Project: Starr Electric
Address: 1808 Norland Road Charlotte, NC
Asset: RTU-7 SGRD's
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
7-1 |  | A | 10 | 300 |  |  | 0
7-2 |  | A | 8 | 200 |  |  | 0
7-3 |  | A | 8 | 160 |  |  | 0
7-4 |  | A | 8 | 160 |  |  | 0
7-5 |  | A | 8 | 160 |  |  | 0
RTU-7 |  |  |  | 980 |  | 0 | 0
Asset: RTU-7 EGRD's
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
R7-1 |  | B | 10 | 300 |  |  | 0
R7-2 |  | B | 14 | 700 |  |  | 0
RTU-7 |  |  |  | 1000 |  | 0 | 0